## Sheet1
Path | Server | Location | Branch | SubBranch | ControlProgram | Point | Zone | BacnetAddress | BacnetDevId | BacnetObjectType | PointType | ComponentId | PathMappingsId | Point ALC
#001_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Basement |  | Room-001 | Supply Air | 4 | 20603:2 | 52 | BAV | 4 | 1 | 6 | Zone Temp
#002_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Basement |  | Room-002 | Supply Air | 4 | 20603:2 | 36 | BAV | 3 | 2 | 6 | point name (m086)
#00c1_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Basement |  | Room-0C1 | Supply Air | 4 | 20603:2 | 78 | BAV | 3 | 3 | 6 | point name (m086)
#0c6a_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Basement |  | Room-0C6A | Supply Air | 4 | 20603:2 | 91 | BAV | 3 | 4 | 6 | point name (m086)
#0c6b_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Basement |  | Room-0C6B | Supply Air | 4 | 20603:2 | 104 | BAV | 3 | 5 | 6 | point name (m086)
#120a1_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | Room-120A-1 | Supply Air | 4 | 20606:41 | 1293 | BAV | 3 | 6 | 6 | point name (m086)
#120a2_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | Room-120A-2 | Supply Air | 4 | 20606:41 | 1306 | BAV | 3 | 7 | 6 | point name (m086)
#120a3_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | Room-120A-3 | Supply Air | 4 | 20606:41 | 1319 | BAV | 3 | 8 | 6 | point name (m086)
#120b1_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | Room-120B-1 | Supply Air | 4 | 20606:41 | 1397 | BAV | 3 | 9 | 6 | point name (m086)
#120b2_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | Room-120B-2 | Supply Air | 4 | 20606:41 | 1410 | BAV | 3 | 10 | 6 | point name (m086)
#120b3_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | Room-120B-3 | Supply Air | 4 | 20606:41 | 1423 | BAV | 3 | 11 | 6 | point name (m086)
#120c_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | Room-120C | Supply Air | 4 | 20606:41 | 1332 | BAV | 3 | 12 | 6 | point name (m086)
#120d_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | Room-120D | Supply Air | 4 | 20606:41 | 1345 | BAV | 3 | 13 | 6 | point name (m086)
#120e_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | Room-120E | Supply Air | 4 | 20606:41 | 1358 | BAV | 3 | 14 | 6 | point name (m086)
#120f_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | Room-120F | Supply Air | 4 | 20606:41 | 1371 | BAV | 3 | 15 | 6 | point name (m086)
#120g_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | Room-120G | Supply Air | 4 | 20606:41 | 1384 | BAV | 3 | 16 | 6 | point name (m086)
#120h1_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | Room-120H-1 | Supply Air | 4 | 20606:41 | 1462 | BAV | 3 | 17 | 6 | point name (m086)
#120h2_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | Room-120H-2 | Supply Air | 4 | 20606:41 | 1475 | BAV | 3 | 18 | 6 | point name (m086)
#120j1_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | Room-120J-1 | Supply Air | 4 | 20606:41 | 1436 | BAV | 3 | 19 | 6 | point name (m086)
#120j2_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | Room-120J-2 | Supply Air | 4 | 20606:41 | 1449 | BAV | 3 | 20 | 6 | point name (m086)
#1213b1_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Room-213B-1 | Supply Air | 4 | 20606:30 | 1501 | BAV | 3 | 21 | 6 | point name (m086)
#1c1a_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | 1C1A | Supply Air | 4 | 20606:41 | 117 | BAV | 3 | 22 | 6 | point name (m086)
#1c1b_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | 1C1B | Supply Air | 4 | 20606:41 | 130 | BAV | 3 | 23 | 6 | point name (m086)
#1c1c_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | 1C1C | Supply Air | 4 | 20606:41 | 1163 | BAV | 3 | 24 | 6 | point name (m086)
#1c6a_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | 1C6A | Supply Air | 4 | 20606:41 | 1176 | BAV | 3 | 25 | 6 | point name (m086)
#1c6b_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | 1C6B | Supply Air | 4 | 20606:41 | 1189 | BAV | 3 | 26 | 6 | point name (m086)
#1c6c_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | 1C6C | Supply Air | 4 | 20606:41 | 1202 | BAV | 3 | 27 | 6 | point name (m086)
#1c6d_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | 1C6D | Supply Air | 4 | 20606:41 | 1215 | BAV | 3 | 28 | 6 | point name (m086)
#1c6e_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | Room 102A-1 | Supply Air | 4 | 20606:41 | 1228 | BAV | 3 | 29 | 6 | point name (m086)
#1c6f_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | Room 102A-2 | Supply Air | 4 | 20606:41 | 1241 | BAV | 3 | 30 | 6 | point name (m086)
#1c6g_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | Room 102A-3 | Supply Air | 4 | 20606:41 | 1254 | BAV | 3 | 31 | 6 | point name (m086)
#1c6h_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | Room 102A-4 | Supply Air | 4 | 20606:41 | 1267 | BAV | 3 | 32 | 6 | point name (m086)
#1c6i_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | Room 102A-5 | Supply Air | 4 | 20606:41 | 1280 | BAV | 3 | 33 | 6 | point name (m086)
#205_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Room-205 | Supply Air | 4 | 20606:30 | 1357 | BAV | 3 | 34 | 6 | point name (m086)
#206a_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Room-206-2 | Supply Air | 4 | 20606:30 | 1370 | BAV | 3 | 35 | 6 | point name (m086)
#206b_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Room-206-1 | Supply Air | 4 | 20606:30 | 1383 | BAV | 3 | 36 | 6 | point name (m086)
#207_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Room-207 | Supply Air | 4 | 20606:30 | 31 | BAV | 3 | 37 | 6 | point name (m086)
#208_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Room-208 | Supply Air | 4 | 20606:30 | 1416 | BAV | 3 | 38 | 6 | point name (m086)
#209_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Room-209 | Supply Air | 4 | 20606:30 | 1436 | BAV | 3 | 39 | 6 | point name (m086)
#210_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Room-210 | Supply Air | 4 | 20606:30 | 1449 | BAV | 3 | 40 | 6 | point name (m086)
#211_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Room-211 | Supply Air | 4 | 20606:30 | 1462 | BAV | 3 | 41 | 6 | point name (m086)
#212_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Room-212 | Supply Air | 4 | 20606:30 | 1475 | BAV | 3 | 42 | 6 | point name (m086)
#213a_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Room-213A | Supply Air | 4 | 20606:30 | 1488 | BAV | 3 | 43 | 6 | point name (m086)
#213b2_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Room-213B-2 | Supply Air | 4 | 20606:30 | 1514 | BAV | 3 | 44 | 6 | point name (m086)
#213c1_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Room-213C-1 | Supply Air | 4 | 20606:30 | 1527 | BAV | 3 | 45 | 6 | point name (m086)
#213c2_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Room-213C-2 | Supply Air | 4 | 20606:30 | 1540 | BAV | 3 | 46 | 6 | point name (m086)
#213d1_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Room-213D-1 | Supply Air | 4 | 20606:30 | 1581 | BAV | 3 | 47 | 6 | point name (m086)
#213d2_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Room-213D-2 | Supply Air | 4 | 20606:30 | 1594 | BAV | 3 | 48 | 6 | point name (m086)
#213e-2_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Room-213E-2 | Supply Air | 4 | 20606:30 | 1620 | BAV | 3 | 49 | 6 | point name (m086)
#213e1_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Room-213E-1 | Supply Air | 4 | 20606:30 | 1607 | BAV | 3 | 50 | 6 | point name (m086)
#213f2_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Room-213F-1 | Supply Air | 4 | 20606:30 | 1633 | BAV | 3 | 51 | 6 | point name (m086)
#213f3_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Room-213F-2 | Supply Air | 4 | 20606:30 | 1655 | BAV | 3 | 52 | 6 | point name (m086)
#214_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Room-214 | Supply Air | 4 | 20606:30 | 1668 | BAV | 3 | 53 | 6 | point name (m086)
#215_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Room-215 | Supply Air | 4 | 10.20.0.148 | 1681 | BAV | 3 | 54 | 6 | point name (m086)
#216_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Room-216 | Supply Air | 4 | 10.20.0.148 | 1694 | BAV | 3 | 55 | 6 | point name (m086)
#217_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Room-217 | Supply Air | 4 | 10.20.0.148 | 1707 | BAV | 3 | 56 | 6 | point name (m086)
#218_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Room-218 | Supply Air | 4 | 10.20.0.148 | 1720 | BAV | 3 | 57 | 6 | point name (m086)
#221_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Room-221 | Supply Air | 4 | 10.20.0.148 | 1733 | BAV | 3 | 58 | 6 | point name (m086)
#222_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Room-222 | Supply Air | 4 | 10.20.0.148 | 1746 | BAV | 3 | 59 | 6 | point name (m086)
#223_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Room-223 | Supply Air | 4 | 10.20.0.148 | 1759 | BAV | 3 | 60 | 6 | point name (m086)
#270_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Room-270 | Supply Air | 3 | 10.20.0.149 | 1401 | BAV | 3 | 61 | 6 | point name (m086)
#271_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Room-271 | Supply Air | 3 | 10.20.0.149 | 1404 | BAV | 3 | 62 | 6 | point name (m086)
#272_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Room-272 | Supply Air | 3 | 10.20.0.149 | 1428 | BAV | 3 | 63 | 6 | point name (m086)
#273_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Room-273 | Supply Air | 3 | 10.20.0.149 | 1431 | BAV | 3 | 64 | 6 | point name (m086)
#274_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Room-274 | Supply Air | 3 | 10.20.0.149 | 1546 | BAV | 3 | 65 | 6 | point name (m086)
#275_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Room-275 | Supply Air | 3 | 10.20.0.149 | 1549 | BAV | 3 | 66 | 6 | point name (m086)
#276_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Room-276 | Supply Air | 3 | 10.20.0.149 | 1552 | BAV | 3 | 67 | 6 | point name (m086)
#277_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Room-277 | Supply Air | 3 | 10.20.0.149 | 1555 | BAV | 3 | 68 | 6 | point name (m086)
#278_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Room-278 | Supply Air | 3 | 10.20.0.149 | 1558 | BAV | 3 | 69 | 6 | point name (m086)
#279_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Room-279 | Supply Air | 3 | 10.20.0.149 | 1561 | BAV | 3 | 70 | 6 | point name (m086)
#280_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Room-280 | Supply Air | 3 | 10.20.0.149 | 1564 | BAV | 3 | 71 | 6 | point name (m086)
#281_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Room-281 | Supply Air | 3 | 10.20.0.149 | 1567 | BAV | 3 | 72 | 6 | point name (m086)
#282_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Room-282 | Supply Air | 3 | 10.20.0.149 | 1570 | BAV | 3 | 73 | 6 | point name (m086)
#283_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Room-283 | Supply Air | 3 | 10.20.0.149 | 1573 | BAV | 3 | 74 | 6 | point name (m086)
#284_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Room-284 | Supply Air | 3 | 10.20.0.149 | 1646 | BAV | 3 | 75 | 6 | point name (m086)
#285_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Room-285 | Supply Air | 3 | 10.20.0.149 | 1649 | BAV | 3 | 76 | 6 | point name (m086)
#286_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Room-286 | Supply Air | 3 | 10.20.0.149 | 1652 | BAV | 3 | 77 | 6 | point name (m086)
#291_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Room-291 | Supply Air | 1_2 | 10.20.0.149 | 129 | BAV | 3 | 78 | 6 | point name (m086)
#292_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Room-292 | Supply Air | 1_2 | 10.20.0.149 | 1162 | BAV | 3 | 79 | 6 | point name (m086)
#293_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Room-293 | Supply Air | 1_2 | 10.20.0.149 | 1175 | BAV | 3 | 80 | 6 | point name (m086)
#2c1a_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | 2C1A | Supply Air | 4 | 10.20.0.147 | 1214 | BAV | 3 | 81 | 6 | point name (m086)
#2c1b_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | 2C1B | Supply Air | 4 | 10.20.0.147 | 1227 | BAV | 3 | 82 | 6 | point name (m086)
#2c3a_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | 2C3-1 | Supply Air | 4 | 20606:30 | 1318 | BAV | 3 | 83 | 6 | point name (m086)
#2c3b_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | 2C3-2 | Supply Air | 4 | 20606:30 | 1331 | BAV | 3 | 84 | 6 | point name (m086)
#2c4_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | 2C4 | Supply Air | 4 | 10.20.0.148 | 1772 | BAV | 3 | 85 | 6 | point name (m086)
#2c5_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | 2C5 | Supply Air | 4 | 10.20.0.147 | 1305 | BAV | 3 | 86 | 6 | point name (m086)
#2c6a_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | 2C6A | Supply Air | 4 | 10.20.0.147 | 1240 | BAV | 3 | 87 | 6 | point name (m086)
#2c6b_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | 2C6B | Supply Air | 4 | 10.20.0.147 | 1253 | BAV | 3 | 88 | 6 | point name (m086)
#2c6c_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | 2C6C | Supply Air | 4 | 10.20.0.147 | 1266 | BAV | 3 | 89 | 6 | point name (m086)
#2c6d_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | 2C6D | Supply Air | 4 | 10.20.0.147 | 1279 | BAV | 3 | 90 | 6 | point name (m086)
#2c6e_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | 2C6E | Supply Air | 4 | 10.20.0.147 | 1292 | BAV | 3 | 91 | 6 | point name (m086)
#301a_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Room-301-A | Supply Air | 4 | 20601:12 | 1733 | BAV | 3 | 92 | 6 | point name (m086)
#301b_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Room-301-B | Supply Air | 4 | 20601:12 | 1736 | BAV | 3 | 93 | 6 | point name (m086)
#302a_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Room-302A | Supply Air | 4 | 20601:12 | 1775 | BAV | 3 | 94 | 6 | point name (m086)
#302b_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Room-302B | Supply Air | 4 | 20601:12 | 1778 | BAV | 3 | 95 | 6 | point name (m086)
#305a_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Room-305-A | Supply Air | 4 | 20601:12 | 1814 | BAV | 3 | 96 | 6 | point name (m086)
#305b_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Room-305-B | Supply Air | 4 | 20601:12 | 1817 | BAV | 3 | 97 | 6 | point name (m086)
#305c_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Room-305-C | Supply Air | 4 | 20601:12 | 1820 | BAV | 3 | 98 | 6 | point name (m086)
#310_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Room-310 | Supply Air | 4 | 20606:30 | 1841 | BAV | 3 | 104 | 6 | point name (m086)
#310a_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Room-310A | Supply Air | 4 | 20601:12 | 1823 | BAV | 3 | 99 | 6 | point name (m086)
#310b_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Room-310B | Supply Air | 4 | 20601:12 | 1739 | BAV | 3 | 100 | 6 | point name (m086)
#310c_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Room-310C | Supply Air | 4 | 20601:12 | 1793 | BAV | 3 | 101 | 6 | point name (m086)
#310d_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Room-310D | Supply Air | 4 | 20601:7 | 1787 | BAV | 3 | 102 | 6 | point name (m086)
#310e_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Room-310E | Supply Air | 4 | 20601:7 | 1784 | BAV | 3 | 103 | 6 | point name (m086)
#311_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Room-313A | Supply Air | 4 | 20606:30 | 1844 | BAV | 3 | 107 | 6 | point name (m086)
#311a_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Room-311-A | Supply Air | 4 | 20601:7 | 1763 | BAV | 3 | 105 | 6 | point name (m086)
#311b_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Room-311-B | Supply Air | 4 | 20601:7 | 1766 | BAV | 3 | 106 | 6 | point name (m086)
#312_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Room-312 | Supply Air | 4 | 20601:7 | 1742 | BAV | 3 | 108 | 6 | point name (m086)
#313b_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Room-313B | Supply Air | 4 | 10.20.0.148 | 259 | BAV | 3 | 109 | 6 | point name (m086)
#314_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Room-314B | Supply Air | 4 | 20606:30 | 1847 | BAV | 3 | 111 | 6 | point name (m086)
#314a_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Room-314A | Supply Air | 4 | 10.20.0.148 | 268 | BAV | 3 | 110 | 6 | point name (m086)
#315_a_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Room-305a | Supply Air | 4 | 20606:30 | 1850 | BAV | 3 | 120 | 6 | point name (m086)
#315_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Room-315 | Supply Air | 4 | 10.20.0.148 | 1838 | BAV | 3 | 121 | 6 | point name (m086)
#315a_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Room-315A | Supply Air | 4 | 10.20.0.148 | 1826 | BAV | 3 | 112 | 6 | point name (m086)
#315c_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Room-315C | Supply Air | 4 | 10.20.0.148 | 1805 | BAV | 3 | 113 | 6 | point name (m086)
#315d_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Room-315D | Supply Air | 4 | 10.20.0.148 | 1808 | BAV | 3 | 114 | 6 | point name (m086)
#315e_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Room-315E | Supply Air | 4 | 10.20.0.148 | 1796 | BAV | 3 | 115 | 6 | point name (m086)
#315f_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Room-315F | Supply Air | 4 | 10.20.0.148 | 1799 | BAV | 3 | 116 | 6 | point name (m086)
#315g_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Room-315G | Supply Air | 4 | 10.20.0.148 | 1802 | BAV | 3 | 117 | 6 | point name (m086)
#315ha_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Room-315H-A | Supply Air | 4 | 10.20.0.148 | 1832 | BAV | 3 | 118 | 6 | point name (m086)
#315hb_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Room-315H-B | Supply Air | 4 | 10.20.0.148 | 1835 | BAV | 3 | 119 | 6 | point name (m086)
#321_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Room-321 | Supply Air | 4 | 10.20.0.148 | 345 | BAV | 3 | 122 | 6 | point name (m086)
#322_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Room-322 | Supply Air | 4 | 10.20.0.148 | 1757 | BAV | 3 | 123 | 6 | point name (m086)
#323_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Room-323 | Supply Air | 4 | 10.20.0.148 | 396 | BAV | 3 | 124 | 6 | point name (m086)
#325_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Room-325 | Supply Air | 4 | 10.20.0.148 | 1781 | BAV | 3 | 125 | 6 | point name (m086)
#371_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Room-371 | Supply Air | 3 | 10.20.0.149 | 1658 | BAV | 3 | 126 | 6 | point name (m086)
#372_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Room-372 | Supply Air | 3 | 10.20.0.149 | 1661 | BAV | 3 | 127 | 6 | point name (m086)
#373_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Room-373 | Supply Air | 3 | 10.20.0.149 | 1664 | BAV | 3 | 128 | 6 | point name (m086)
#374_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Room-374 | Supply Air | 3 | 10.20.0.149 | 1667 | BAV | 3 | 129 | 6 | point name (m086)
#375_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Room-375 | Supply Air | 3 | 10.20.0.149 | 1670 | BAV | 3 | 130 | 6 | point name (m086)
#376_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Room-376 | Supply Air | 3 | 10.20.0.149 | 1673 | BAV | 3 | 131 | 6 | point name (m086)
#377_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Room-377 | Supply Air | 3 | 10.20.0.149 | 1676 | BAV | 3 | 132 | 6 | point name (m086)
#378_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Room-378 | Supply Air | 3 | 10.20.0.149 | 1679 | BAV | 3 | 133 | 6 | point name (m086)
#379_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Room-379 | Supply Air | 3 | 10.20.0.149 | 1682 | BAV | 3 | 134 | 6 | point name (m086)
#380_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Room-380 | Supply Air | 3 | 10.20.0.149 | 1685 | BAV | 3 | 135 | 6 | point name (m086)
#381_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Room-381 | Supply Air | 3 | 10.20.0.149 | 1688 | BAV | 3 | 136 | 6 | point name (m086)
#382_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Room-382 | Supply Air | 3 | 10.20.0.149 | 1691 | BAV | 3 | 137 | 6 | point name (m086)
#383_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Room-383 | Supply Air | 3 | 10.20.0.149 | 1694 | BAV | 3 | 138 | 6 | point name (m086)
#384_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Room-384 | Supply Air | 3 | 10.20.0.149 | 1697 | BAV | 3 | 139 | 6 | point name (m086)
#385_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Room-385 | Supply Air | 3 | 10.20.0.149 | 1700 | BAV | 3 | 140 | 6 | point name (m086)
#386_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Room-386 | Supply Air | 3 | 10.20.0.149 | 1703 | BAV | 3 | 141 | 6 | point name (m086)
#391_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Room-391 | Supply Air | 1_2 | 10.20.0.149 | 1706 | BAV | 3 | 142 | 6 | point name (m086)
#392_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Room-392 | Supply Air | 1_2 | 10.20.0.149 | 1709 | BAV | 3 | 143 | 6 | point name (m086)
#393_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Room-393 | Supply Air | 1_2 | 10.20.0.149 | 1712 | BAV | 3 | 144 | 6 | point name (m086)
#3c1a_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | 3C1-A | Supply Air | 4 | 20601:12 | 1721 | BAV | 3 | 145 | 6 | point name (m086)
#3c1b_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | 3C1-B | Supply Air | 4 | 20601:12 | 1724 | BAV | 3 | 146 | 6 | point name (m086)
#3c2_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | 3C2 | Supply Air | 4 | 10.20.0.148 | 1811 | BAV | 3 | 147 | 6 | point name (m086)
#3c4_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | 3C4 | Supply Air | 4 | 10.20.0.148 | 1829 | BAV | 3 | 148 | 6 | point name (m086)
#3c6a_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | 3C6-A | Supply Air | 4 | 20601:12 | 1727 | BAV | 3 | 149 | 6 | point name (m086)
#3c6b_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | 3C6-B | Supply Air | 4 | 20601:12 | 1730 | BAV | 3 | 150 | 6 | point name (m086)
#3c6c_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | 3C6-C | Supply Air | 4 | 10.20.0.148 | 478 | BAV | 3 | 151 | 6 | point name (m086)
#3c6d_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | 3C6-D | Supply Air | 4 | 10.20.0.148 | 493 | BAV | 3 | 152 | 6 | point name (m086)
#bridge2c71_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Bridge 2C7-1 | Supply Air | 4 | 10.20.0.147 | 1188 | BAV | 3 | 153 | 6 | point name (m086)
#bridge2c72_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Bridge 2C7-2 | Supply Air | 4 | 10.20.0.147 | 1201 | BAV | 3 | 154 | 6 | point name (m086)
#c315b_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Room-315B | Supply Air | 4 | 10.20.0.148 | 291 | BAV | 3 | 155 | 6 | point name (m086)
#c370_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Room-370 | Supply Air | 3 | 10.20.0.149 | 1655 | BAV | 3 | 156 | 6 | point name (m086)
#rc_thermafuser/m186 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Research Cooridor | Zone Temp | 4 | 20606:30 | 482 | BAV | 3 | 157 | 7 | Zone_Tenp
#rc_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Research Cooridor | Supply Air | 4 | 20606:30 | 1344 | BAV | 3 | 157 | 6 | point name (m086)
#rc3_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Research Cooridor | Supply Air | 4 | 10.20.0.148 | 1790 | BAV | 3 | 157 | 6 | point name (m086)
#270_thermafuser/m076 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Room-270 | Terminal Load | 3 | 10.20.0.149 | 7 | BAV | 3 | 61 | 1 | terminal_load
#271_thermafuser/m076 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Room-271 | Terminal Load | 3 | 10.20.0.149 | 14 | BAV | 3 | 62 | 1 | terminal_load
#272_thermafuser/m076 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Room-272 | Terminal Load | 3 | 10.20.0.149 | 21 | BAV | 3 | 63 | 1 | terminal_load
#273_thermafuser/m076 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Room-273 | Terminal Load | 3 | 10.20.0.149 | 28 | BAV | 3 | 64 | 1 | terminal_load
#274_thermafuser/m076 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Room-274 | Terminal Load | 3 | 10.20.0.149 | 35 | BAV | 3 | 65 | 1 | terminal_load
#275_thermafuser/m076 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Room-275 | Terminal Load | 3 | 10.20.0.149 | 42 | BAV | 3 | 66 | 1 | terminal_load
#276_thermafuser/m076 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Room-276 | Terminal Load | 3 | 10.20.0.149 | 49 | BAV | 3 | 67 | 1 | terminal_load
#277_thermafuser/m076 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Room-277 | Terminal Load | 3 | 10.20.0.149 | 56 | BAV | 3 | 68 | 1 | terminal_load
#278_thermafuser/m076 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Room-278 | Terminal Load | 3 | 10.20.0.149 | 63 | BAV | 3 | 69 | 1 | terminal_load
#279_thermafuser/m076 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Room-279 | Terminal Load | 3 | 10.20.0.149 | 70 | BAV | 3 | 70 | 1 | terminal_load
#280_thermafuser/m076 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Room-280 | Terminal Load | 3 | 10.20.0.149 | 77 | BAV | 3 | 71 | 1 | terminal_load
#281_thermafuser/m076 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Room-281 | Terminal Load | 3 | 10.20.0.149 | 84 | BAV | 3 | 72 | 1 | terminal_load
#282_thermafuser/m076 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Room-282 | Terminal Load | 3 | 10.20.0.149 | 91 | BAV | 3 | 73 | 1 | terminal_load
#283_thermafuser/m076 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Room-283 | Terminal Load | 3 | 10.20.0.149 | 98 | BAV | 3 | 74 | 1 | terminal_load
#284_thermafuser/m076 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Room-284 | Terminal Load | 3 | 10.20.0.149 | 105 | BAV | 3 | 75 | 1 | terminal_load
#285_thermafuser/m076 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Room-285 | Terminal Load | 3 | 10.20.0.149 | 112 | BAV | 3 | 76 | 1 | terminal_load
#286_thermafuser/m076 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Room-286 | Terminal Load | 3 | 10.20.0.149 | 119 | BAV | 3 | 77 | 1 | terminal_load
#291_thermafuser/m076 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Room-291 | Terminal Load | 1_2 | 10.20.0.149 | 132 | BAV | 3 | 78 | 1 | terminal_load
#292_thermafuser/m076 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Room-292 | Terminal Load | 1_2 | 10.20.0.149 | 1165 | BAV | 3 | 79 | 1 | terminal_load
#293_thermafuser/m076 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Room-293 | Terminal Load | 1_2 | 10.20.0.149 | 1178 | BAV | 3 | 80 | 1 | terminal_load
#371_thermafuser/m076 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Room-371 | Terminal Load | 3 | 10.20.0.149 | 286 | BAV | 3 | 126 | 1 | terminal_load
#372_thermafuser/m076 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Room-372 | Terminal Load | 3 | 10.20.0.149 | 1160 | BAV | 3 | 127 | 1 | terminal_load
#373_thermafuser/m076 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Room-373 | Terminal Load | 3 | 10.20.0.149 | 317 | BAV | 3 | 128 | 1 | terminal_load
#374_thermafuser/m076 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Room-374 | Terminal Load | 3 | 10.20.0.149 | 352 | BAV | 3 | 129 | 1 | terminal_load
#375_thermafuser/m076 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Room-375 | Terminal Load | 3 | 10.20.0.149 | 1181 | BAV | 3 | 130 | 1 | terminal_load
#376_thermafuser/m076 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Room-376 | Terminal Load | 3 | 10.20.0.149 | 1188 | BAV | 3 | 131 | 1 | terminal_load
#377_thermafuser/m076 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Room-377 | Terminal Load | 3 | 10.20.0.149 | 1195 | BAV | 3 | 132 | 1 | terminal_load
#378_thermafuser/m076 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Room-378 | Terminal Load | 3 | 10.20.0.149 | 1202 | BAV | 3 | 133 | 1 | terminal_load
#379_thermafuser/m076 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Room-379 | Terminal Load | 3 | 10.20.0.149 | 1209 | BAV | 3 | 134 | 1 | terminal_load
#380_thermafuser/m076 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Room-380 | Terminal Load | 3 | 10.20.0.149 | 1216 | BAV | 3 | 135 | 1 | terminal_load
#381_thermafuser/m076 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Room-381 | Terminal Load | 3 | 10.20.0.149 | 1223 | BAV | 3 | 136 | 1 | terminal_load
#382_thermafuser/m076 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Room-382 | Terminal Load | 3 | 10.20.0.149 | 1230 | BAV | 3 | 137 | 1 | terminal_load
#383_thermafuser/m076 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Room-383 | Terminal Load | 3 | 10.20.0.149 | 1237 | BAV | 3 | 138 | 1 | terminal_load
#384_thermafuser/m076 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Room-384 | Terminal Load | 3 | 10.20.0.149 | 1244 | BAV | 3 | 139 | 1 | terminal_load
#385_thermafuser/m076 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Room-385 | Terminal Load | 3 | 10.20.0.149 | 1251 | BAV | 3 | 140 | 1 | terminal_load
#386_thermafuser/m076 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Room-386 | Terminal Load | 3 | 10.20.0.149 | 1258 | BAV | 3 | 141 | 1 | terminal_load
#391_thermafuser/m076 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Room-391 | Terminal Load | 1_2 | 10.20.0.149 | 1265 | BAV | 3 | 142 | 1 | terminal_load
#392_thermafuser/m076 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Room-392 | Terminal Load | 1_2 | 10.20.0.149 | 1272 | BAV | 3 | 143 | 1 | terminal_load
#393_thermafuser/m076 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Room-393 | Terminal Load | 1_2 | 10.20.0.149 | 1279 | BAV | 3 | 144 | 1 | terminal_load
#c370_thermafuser/m076 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Room-370 | Terminal Load | 3 | 10.20.0.149 | 270 | BAV | 3 | 156 | 1 | terminal_load
#ahu-3_0206/m045 | 10.20.0.47 | Science & Engineering 2: 0206 | Roof |  | AHU-3 | Cl Req | 3 | 20606:24 | 41 | BAV | 4 | 4 | 24 | Total Cool Request
#ahu-4_0206/m045 | 10.20.0.47 | Science & Engineering 2: 0206 | Roof |  | AHU-4 | Cl Req | 4 | 20620:75 | 41 | BAV | 4 | 5 | 24 | Total Cool Request
#ahu-3_0206/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Roof |  | AHU-3 | Cool Stpt | 3 | 20606:24 | 5 | BAV | 3 | 4 | 25 | Alarm Sources / Cool Setpoint
#ahu-3_0206/m044 | 10.20.0.47 | Science & Engineering 2: 0206 | Roof |  | AHU-3 | Ht Req | 3 | 20606:24 | 42 | BAV | 3 | 4 | 26 | Alarm Sources / Total Heat Request
#ahu-3_0206/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Roof |  | AHU-3 | Heat Stpt | 3 | 20606:24 | 8 | BAV | 3 | 4 | 27 | Alarm Sources / Heat Setpoint
#ahu-4_0206/m044 | 10.20.0.47 | Science & Engineering 2: 0206 | Roof |  | AHU-4 | Ht Req | 4 | 20620:75 | 42 | BAV | 3 | 5 | 26 | Alarm Sources / Total Heat Request
#ahu-4_0206/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Roof |  | AHU-4 | Heat Stpt | 4 | 20620:75 | 14 | BAV | 3 | 5 | 27 | Alarm Sources / Heat Setpoint
#ahu_1a_supply/speed_rpm_1617_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-1A Supply | 1617_speed_rpm | 1_2 | 20606:30 | 510 | BAV | 3 | 1 | 46 | 1617_speed_rpm
#ahu_1b_supply/speed_rpm_1617_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-1B Supply | 1617_speed_rpm | 1_2 | 20606:30 | 574 | BAV | 3 | 2 | 46 | 1617_speed_rpm
#ahu_1c_supply/speed_rpm_1617_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-1C Supply | 1617_speed_rpm | 1_2 | 20606:30 | 606 | BAV | 3 | 3 | 46 | 1617_speed_rpm
#ahu_1d_supply/speed_rpm_1617_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-1D Supply | 1617_speed_rpm | 1_2 | 20606:30 | 638 | BAV | 3 | 4 | 46 | 1617_speed_rpm
#ahu_2a_supply/speed_rpm_1617_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-2A Supply | 1617_speed_rpm | 1_2 | 20606:41 | 670 | BAV | 3 | 5 | 46 | 1617_speed_rpm
#ahu_2b_supply/speed_rpm_1617_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-2B Supply | 1617_speed_rpm | 1_2 | 20606:41 | 702 | BAV | 3 | 6 | 46 | 1617_speed_rpm
#ahu_2c_supply/speed_rpm_1617_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-2C Supply | 1617_speed_rpm | 1_2 | 20606:41 | 734 | BAV | 3 | 7 | 46 | 1617_speed_rpm
#ahu_2d_supply/speed_rpm_1617_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-2D Supply | 1617_speed_rpm | 1_2 | 20606:41 | 766 | BAV | 3 | 8 | 46 | 1617_speed_rpm
#ahu_3a_return/speed_rpm_1617_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-3A Return | 1617_speed_rpm | 3 | 20606:30 | 1054 | BAV | 3 | 9 | 46 | 1617_speed_rpm
#ahu_3a_supply/speed_rpm_1617_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-3A Supply | 1617_speed_rpm | 3 | 20606:30 | 798 | BAV | 3 | 10 | 46 | 1617_speed_rpm
#ahu_3b_return/speed_rpm_1617_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-3B Return | 1617_speed_rpm | 3 | 20606:30 | 1086 | BAV | 3 | 11 | 46 | 1617_speed_rpm
#ahu_3b_supply/speed_rpm_1617_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-3B Supply | 1617_speed_rpm | 3 | 20606:30 | 830 | BAV | 3 | 12 | 46 | 1617_speed_rpm
#ahu_3c_return/speed_rpm_1617_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-3C Return | 1617_speed_rpm | 3 | 20606:30 | 1118 | BAV | 3 | 13 | 46 | 1617_speed_rpm
#ahu_3c_supply/speed_rpm_1617_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-3C Supply | 1617_speed_rpm | 3 | 20606:30 | 862 | BAV | 3 | 14 | 46 | 1617_speed_rpm
#ahu_3d_return/speed_rpm_1617_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-3D Return | 1617_speed_rpm | 3 | 20606:30 | 1150 | BAV | 3 | 15 | 46 | 1617_speed_rpm
#ahu_3d_supply/speed_rpm_1617_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-3D Supply | 1617_speed_rpm | 3 | 20606:30 | 894 | BAV | 3 | 16 | 46 | 1617_speed_rpm
#ahu_4a_return/speed_rpm_1617_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-4A Return | 1617_speed_rpm | 4 | 20603:2 | 249 | BAV | 3 | 17 | 46 | 1617_speed_rpm
#ahu_4a_supply/speed_rpm_1617_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-4A Supply | 1617_speed_rpm | 4 | 20603:2 | 926 | BAV | 3 | 18 | 46 | 1617_speed_rpm
#ahu_4b_return/speed_rpm_1617_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-4B Return | 1617_speed_rpm | 4 | 20603:2 | 1214 | BAV | 3 | 19 | 46 | 1617_speed_rpm
#ahu_4b_supply/speed_rpm_1617_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-4B Supply | 1617_speed_rpm | 4 | 20603:2 | 958 | BAV | 3 | 20 | 46 | 1617_speed_rpm
#ahu_4c_return/speed_rpm_1617_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-4C Return | 1617_speed_rpm | 4 | 20603:2 | 1246 | BAV | 3 | 21 | 46 | 1617_speed_rpm
#ahu_4c_supply/speed_rpm_1617_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-4C Supply | 1617_speed_rpm | 4 | 20603:2 | 990 | BAV | 3 | 22 | 46 | 1617_speed_rpm
#ahu_4d_return/speed_rpm_1617_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-4D Return | 1617_speed_rpm | 4 | 20603:2 | 1278 | BAV | 3 | 23 | 46 | 1617_speed_rpm
#ahu_4d_supply/speed_rpm_1617_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-4D Supply | 1617_speed_rpm | 4 | 20603:2 | 1022 | BAV | 3 | 24 | 46 | 1617_speed_rpm
#ahu_1a_supply/power_kw_1610_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-1A Supply | 1610_power_kw | 1_2 | 20606:30 | 504 | BAV | 3 | 1 | 45 | 1610_power_kw
#ahu_1b_supply/power_kw_1610_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-1B Supply | 1610_power_kw | 1_2 | 20606:30 | 568 | BAV | 3 | 2 | 45 | 1610_power_kw
#ahu_1c_supply/power_kw_1610_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-1C Supply | 1610_power_kw | 1_2 | 20606:30 | 600 | BAV | 3 | 3 | 45 | 1610_power_kw
#ahu_1d_supply/power_kw_1610_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-1D Supply | 1610_power_kw | 1_2 | 20606:30 | 632 | BAV | 3 | 4 | 45 | 1610_power_kw
#ahu_2a_supply/power_kw_1610_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-2A Supply | 1610_power_kw | 1_2 | 20606:41 | 664 | BAV | 3 | 5 | 45 | 1610_power_kw
#ahu_2b_supply/power_kw_1610_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-2B Supply | 1610_power_kw | 1_2 | 20606:41 | 696 | BAV | 3 | 6 | 45 | 1610_power_kw
#ahu_2c_supply/power_kw_1610_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-2C Supply | 1610_power_kw | 1_2 | 20606:41 | 728 | BAV | 3 | 7 | 45 | 1610_power_kw
#ahu_2d_supply/power_kw_1610_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-2D Supply | 1610_power_kw | 1_2 | 20606:41 | 760 | BAV | 3 | 8 | 45 | 1610_power_kw
#ahu_3a_return/power_kw_1610_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-3A Return | 1610_power_kw | 3 | 20606:30 | 1048 | BAV | 3 | 9 | 45 | 1610_power_kw
#ahu_3a_supply/power_kw_1610_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-3A Supply | 1610_power_kw | 3 | 20606:30 | 792 | BAV | 3 | 10 | 45 | 1610_power_kw
#ahu_3b_return/power_kw_1610_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-3B Return | 1610_power_kw | 3 | 20606:30 | 1080 | BAV | 3 | 11 | 45 | 1610_power_kw
#ahu_3b_supply/power_kw_1610_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-3B Supply | 1610_power_kw | 3 | 20606:30 | 824 | BAV | 3 | 12 | 45 | 1610_power_kw
#ahu_3c_return/power_kw_1610_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-3C Return | 1610_power_kw | 3 | 20606:30 | 1112 | BAV | 3 | 13 | 45 | 1610_power_kw
#ahu_3c_supply/power_kw_1610_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-3C Supply | 1610_power_kw | 3 | 20606:30 | 856 | BAV | 3 | 14 | 45 | 1610_power_kw
#ahu_3d_return/power_kw_1610_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-3D Return | 1610_power_kw | 3 | 20606:30 | 1144 | BAV | 3 | 15 | 45 | 1610_power_kw
#ahu_3d_supply/power_kw_1610_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-3D Supply | 1610_power_kw | 3 | 20606:30 | 888 | BAV | 3 | 16 | 45 | 1610_power_kw
#ahu_4a_return/power_kw_1610_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-4A Return | 1610_power_kw | 4 | 20603:2 | 1176 | BAV | 3 | 17 | 45 | 1610_power_kw
#ahu_4a_supply/power_kw_1610_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-4A Supply | 1610_power_kw | 4 | 20603:2 | 121 | BAV | 3 | 18 | 45 | 1610_power_kw
#ahu_4b_return/power_kw_1610_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-4B Return | 1610_power_kw | 4 | 20603:2 | 1208 | BAV | 3 | 19 | 45 | 1610_power_kw
#ahu_4b_supply/power_kw_1610_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-4B Supply | 1610_power_kw | 4 | 20603:2 | 952 | BAV | 3 | 20 | 45 | 1610_power_kw
#ahu_4c_return/power_kw_1610_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-4C Return | 1610_power_kw | 4 | 20603:2 | 273 | BAV | 3 | 21 | 45 | 1610_power_kw
#ahu_4c_supply/power_kw_1610_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-4C Supply | 1610_power_kw | 4 | 20603:2 | 984 | BAV | 3 | 22 | 45 | 1610_power_kw
#ahu_4d_return/power_kw_1610_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-4D Return | 1610_power_kw | 4 | 20603:2 | 1272 | BAV | 3 | 23 | 45 | 1610_power_kw
#ahu_4d_supply/power_kw_1610_tn | 10.20.0.47 | Science & Engineering 2: 0206 | VFD |  | AHU-4D Supply | 1610_power_kw | 4 | 20603:2 | 1016 | BAV | 3 | 24 | 45 | 1610_power_kw
#ahu-1_0206/sf1_cfm_tnd | 10.20.0.47 | Science & Engineering 2: 0206 | Roof |  | AHU-1 | Supply Fan 1 CFM | 1_2 | 20606:22 | 15 | BAV | 3 | 1 | 23 | Alarm Sources / Supply Fan CFM (sf1_cfm)
#ahu-2_0206/sf1_cfm_tnd | 10.20.0.47 | Science & Engineering 2: 0206 | Roof |  | AHU-2 | Supply Fan 1 CFM | 1_2 | 20606:23 | 15 | BAV | 3 | 6 | 23 | Alarm Sources / Supply Fan CFM (sf1_cfm)
#ahu-3_0206/sf1_cfm_tnd | 10.20.0.47 | Science & Engineering 2: 0206 | Roof |  | AHU-3 | Supply Fan 1 CFM | 3 | 20606:24 | 37 | BAV | 3 | 16 | 23 | Alarm Sources / Supply Fan CFM (sf1_cfm)
#ahu-4_0206/sf1_cfm_tnd | 10.20.0.47 | Science & Engineering 2: 0206 | Roof |  | AHU-4 | Supply Fan 1 CFM | 4 | 20620:75 | 37 | BAV | 3 | 26 | 23 | Alarm Sources / Supply Fan CFM (sf1_cfm)
#ahu-1_0206/sf_cfm_tnd | 10.20.0.47 | Science & Engineering 2: 0206 | Roof |  | AHU-1 | Supply Fan CFM | 1_2 | 20606:22 | 16 | BAV | 3 | 5 | 23 | Alarm Sources / Supply Fan CFM (sf_cfm)
#ahu-2_0206/sf_cfm_tnd | 10.20.0.47 | Science & Engineering 2: 0206 | Roof |  | AHU-2 | Supply Fan 1 CFM | 1_2 | 20606:23 | 15 | BAV | 3 | 10 | 23 | Alarm Sources / Supply Fan CFM (sf_cfm)
#ahu-3_0206/sf_cfm_tnd | 10.20.0.47 | Science & Engineering 2: 0206 | Roof |  | AHU-3 | Supply Fan 3 Total CFM | 3 | 20606:24 | 38 | BAV | 3 | 20 | 23 | Alarm Sources / Supply Fan CFM (sf_cfm)
#ahu-4_0206/sf_cfm_tnd | 10.20.0.47 | Science & Engineering 2: 0206 | Roof |  | AHU-4 | Supply Fan 1 CFM | 4 | 20620:75 | 37 | BAV | 3 | 30 | 23 | Alarm Sources / Supply Fan CFM (sf_cfm)
#ahu-3_0206/rf4_cfm_tnd | 10.20.0.47 | Science & Engineering 2: 0206 | Roof |  | AHU-3 | Return Fan 4 CFM | 3 | 20606:24 | 35 | BAV | 3 | 14 | 21 | Alarm Sources / Supply Fan CFM (rf4_cfm)
#ahu-4_0206/rf4_cfm_tnd | 10.20.0.47 | Science & Engineering 2: 0206 | Roof |  | AHU-4 | Return Fan 4 CFM | 4 | 20620:75 | 35 | BAV | 3 | 24 | 21 | Alarm Sources / Supply Fan CFM (rf4_cfm)
#ahu-1_0206/sf4_cfm_tnd | 10.20.0.47 | Science & Engineering 2: 0206 | Roof |  | AHU-1 | Supply Fan 4 CFM | 1_2 | 20606:22 | 14 | BAV | 3 | 4 | 23 | Alarm Sources / Supply Fan 4 CFM (sf4_cfm)
#ahu-2_0206/sf4_cfm_tnd | 10.20.0.47 | Science & Engineering 2: 0206 | Roof |  | AHU-2 | Supply Fan 4 CFM | 1_2 | 20606:23 | 14 | BAV | 3 | 9 | 23 | Alarm Sources / Supply Fan 4 CFM (sf4_cfm)
#ahu-3_0206/sf4_cfm_tnd | 10.20.0.47 | Science & Engineering 2: 0206 | Roof |  | AHU-3 | Supply Fan 4 CFM | 3 | 20606:24 | 36 | BAV | 3 | 19 | 23 | Alarm Sources / Supply Fan 4 CFM (sf4_cfm)
#ahu-4_0206/sf4_cfm_tnd | 10.20.0.47 | Science & Engineering 2: 0206 | Roof |  | AHU-4 | Supply Fan 4 CFM | 4 | 20620:75 | 36 | BAV | 3 | 29 | 23 | Alarm Sources / Supply Fan 4 CFM (sf4_cfm)
#ahu-1_0206/sf3_cfm_tnd | 10.20.0.47 | Science & Engineering 2: 0206 | Roof |  | AHU-1 | Supply Fan 3 CFM | 1_2 | 20606:22 | 13 | BAV | 3 | 3 | 23 | Alarm Sources / Supply Fan 3 CFM (sf3_cfm)
#ahu-2_0206/sf3_cfm_tnd | 10.20.0.47 | Science & Engineering 2: 0206 | Roof |  | AHU-2 | Supply Fan 3 CFM | 1_2 | 20606:23 | 13 | BAV | 3 | 8 | 23 | Alarm Sources / Supply Fan 3 CFM (sf3_cfm)
#ahu-3_0206/sf3_cfm_tnd | 10.20.0.47 | Science & Engineering 2: 0206 | Roof |  | AHU-3 | Supply Fan 3 CFM | 3 | 20606:24 | 34 | BAV | 3 | 18 | 23 | Alarm Sources / Supply Fan 3 CFM (sf3_cfm)
#ahu-4_0206/sf3_cfm_tnd | 10.20.0.47 | Science & Engineering 2: 0206 | Roof |  | AHU-4 | Supply Fan 3 CFM | 4 | 20620:75 | 34 | BAV | 3 | 28 | 23 | Alarm Sources / Supply Fan 3 CFM (sf3_cfm)
#ahu-1_0206/sf2_cfm_tnd | 10.20.0.47 | Science & Engineering 2: 0206 | Roof |  | AHU-1 | Supply Fan 2 CFM | 1_2 | 20606:22 | 12 | BAV | 3 | 2 | 23 | Alarm Sources / Supply Fan 2 CFM (sf2_cfm)
#ahu-2_0206/sf2_cfm_tnd | 10.20.0.47 | Science & Engineering 2: 0206 | Roof |  | AHU-2 | Supply Fan 2 CFM | 1_2 | 20606:23 | 12 | BAV | 3 | 7 | 23 | Alarm Sources / Supply Fan 2 CFM (sf2_cfm)
#ahu-3_0206/sf2_cfm_tnd | 10.20.0.47 | Science & Engineering 2: 0206 | Roof |  | AHU-3 | Supply Fan 2 CFM | 3 | 20606:24 | 33 | BAV | 3 | 17 | 23 | Alarm Sources / Supply Fan 2 CFM (sf2_cfm)
#ahu-4_0206/sf2_cfm_tnd | 10.20.0.47 | Science & Engineering 2: 0206 | Roof |  | AHU-4 | Supply Fan 2 CFM | 4 | 20620:75 | 33 | BAV | 3 | 27 | 23 | Alarm Sources / Supply Fan 2 CFM (sf2_cfm)
#sav-b21-e/m277 | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Material Science 080B SAV-B21-E | GEX Dmpr Pos | 1_2 | 20613:21 | 3 | BAV | 3 | 76 | 56 | point name (m276)
#sav-b23-a_/m277 | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | CER 50H SAV-B23-A | SAV Dmpr Pos | 1_2 | 20613:23 | 20 | BAV | 3 | 78 | 59 | point name (m309)
#sav-b6-a/m277 | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Titan 090B North SAV-B6-A | GEX Dmpr Pos | 1_2 | 20613:6 | 3 | BAV | 3 | 94 | 56 | point name (m276)
#sav-b2-c/m277 | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Prep 090G SAV-B2-C | GEX Dmpr Pos | 1_2 | 20613:2 | 3 | BAV | 3 | 74 | 56 | point name (m276)
#sav-b3-b/m277 | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Imaging 090 SAV-B3-B | GEX Dmpr Pos | 1_2 | 20613:3 | 3 | BAV | 3 | 85 | 56 | point name (m276)
#sav-2a2-c/m310 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Offices 291-293 SAV-2A2-C | SAV Dmpr Pos | 1_2 | 20618:2 | 20 | BAV | 3 | 30 | 59 | point name (m309)
#sav-3a2-c/m310 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Offices 391-393 SAV-3A2-C | SAV Dmpr Pos | 1_2 | 20618:25 | 20 | BAV | 3 | 53 | 59 | point name (m309)
#sav-2a2-c/cl_pct_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Offices 291-293 SAV-2A2-C | Clg% | 1_2 | 20618:2 | 2 | BAV | 3 | 30 | 65 | Alarm Sources / Clg Pct
#sav-2a2-c/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Offices 291-293 SAV-2A2-C | Cool Stpt | 1_2 | 20618:2 | 3 | BAV | 3 | 30 | 67 | Alarm Sources / Cool Stpt
#sav-2a2-c/ht_pct_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Offices 291-293 SAV-2A2-C | Htg% | 1_2 | 20618:2 | 9 | BAV | 3 | 30 | 66 | Alarm Sources / Htg Pct
#sav-2a2-c/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Offices 291-293 SAV-2A2-C | Heat Stpt | 1_2 | 20618:2 | 12 | BAV | 3 | 30 | 68 | Alarm Sources / Heat Stpt
#sav-2a2-c/m044 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Offices 291-293 SAV-2A2-C | Ht Req | 1_2 | 20618:2 | 25 | BAV | 3 | 30 | 71 | Alarm Sources / Total Heat Request
#sav-2a2-c/m045 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Offices 291-293 SAV-2A2-C | Cl Req | 1_2 | 20618:2 | 23 | BAV | 4 | 30 | 72 | Total Cool Request
#sav-2a2-c/m285 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Offices 291-293 SAV-2A2-C | Cool Requests | 1_2 | 20618:2 | 4 | BAV | 3 | 30 | 57 | Alarm Sources / Cool Request
#sav-3a2-c/m045 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Offices 391-393 SAV-3A2-C | Cl Req | 1_2 | 20618:25 | 23 | BAV | 4 | 53 | 72 | Total Cool Request
#sav-2a2-c/m310 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Offices 291-293 SAV-2A2-C | SAV Dmpr Pos | 1_2 | 20618:2 | 20 | BAV | 3 | 30 | 59 | point name (m309)
#sav-2a2-c/m320 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Offices 291-293 SAV-2A2-C | Supply Flow | 1_2 | 20618:2 | 24 | BAV | 3 | 30 | 61 | point name (m319)
#sav-3a2-c/cl_pct_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Offices 391-393 SAV-3A2-C | Clg% | 1_2 | 20618:25 | 2 | BAV | 3 | 53 | 65 | Alarm Sources / Clg Pct
#sav-3a2-c/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Offices 391-393 SAV-3A2-C | Cool Stpt | 1_2 | 20618:25 | 3 | BAV | 3 | 53 | 67 | Alarm Sources / Cool Stpt
#sav-3a2-c/ht_pct_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Offices 391-393 SAV-3A2-C | Htg% | 1_2 | 20618:25 | 9 | BAV | 3 | 53 | 66 | Alarm Sources / Htg Pct
#sav-3a2-c/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Offices 391-393 SAV-3A2-C | Heat Stpt | 1_2 | 20618:25 | 12 | BAV | 3 | 53 | 68 | Alarm Sources / Heat Stpt
#sav-3a2-c/m044 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Offices 391-393 SAV-3A2-C | Ht Req | 1_2 | 20618:25 | 25 | BAV | 3 | 53 | 71 | Alarm Sources / Total Heat Request
#sav-3a2-c/m285 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Offices 391-393 SAV-3A2-C | Cool Requests | 1_2 | 20618:25 | 4 | BAV | 3 | 53 | 57 | Alarm Sources / Cool Request
#sav-3a2-c/m310 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Offices 391-393 SAV-3A2-C | SAV Dmpr Pos | 1_2 | 20618:25 | 20 | BAV | 3 | 53 | 59 | point name (m309)
#sav-3a2-c/m320 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Offices 391-393 SAV-3A2-C | Supply Flow | 1_2 | 20618:25 | 24 | BAV | 3 | 53 | 61 | point name (m319)
#sav-b21-e/cl_pct_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Material Science 080B SAV-B21-E | Clg% | 1_2 | 20613:21 | 2 | BAV | 3 | 76 | 65 | Alarm Sources / Clg Pct
#sav-b21-e/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Material Science 080B SAV-B21-E | Clg Stpt | 1_2 | 20613:21 | 5 | BAV | 3 | 76 | 67 | Alarm Sources / Cool Stpt
#sav-b21-e/ht_pct_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Material Science 080B SAV-B21-E | Htg% | 1_2 | 20613:21 | 9 | BAV | 3 | 76 | 66 | Alarm Sources / Htg Pct
#sav-b21-e/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Material Science 080B SAV-B21-E | Htg Stpt | 1_2 | 20613:21 | 8 | BAV | 3 | 76 | 68 | Alarm Sources / Heat Stpt
#sav-b21-e/m277 | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Material Science 080B SAV-B21-E | GEX Dmpr Pos | 1_2 | 20613:21 | 3 | BAV | 3 | 76 | 56 | point name (m276)
#sav-b21-e/m310 | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Material Science 080B SAV-B21-E | SAV Dmpr Pos | 1_2 | 20613:21 | 20 | BAV | 3 | 76 | 59 | point name (m309)
#sav-b21-e/m320 | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Material Science 080B SAV-B21-E | Supply Flow | 1_2 | 20613:21 | 24 | BAV | 3 | 76 | 61 | point name (m319)
#sav-b21-e/m322 | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Material Science 080B SAV-B21-E | Flow Difference | 1_2 | 20613:21 | 25 | BAV | 3 | 76 | 62 | point name (m321)
#sav-b21-e/m328 | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Material Science 080B SAV-B21-E | Exhaust Flow Stpt | 1_2 | 20613:21 | 28 | BAV | 3 | 76 | 63 | point name (m327)
#sav-b23-a_/m423 | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | CER 50H SAV-B23-A | CER Temp | 1_2 | 20613:23 | 1 | BAI | 2 | 78 | 70 | CER Temp
#sav-b23-a_/cl_pct_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | CER 50H SAV-B23-A | Clg% | 1_2 | 20613:23 | 2 | BAV | 3 | 78 | 65 | Alarm Sources / Clg Pct
#sav-b23-a_/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | CER 50H SAV-B23-A | Clg Stpt | 1_2 | 20613:23 | 5 | BAV | 3 | 78 | 67 | Alarm Sources / Cool Stpt
#sav-b23-a_/ht_pct_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | CER 50H SAV-B23-A | Htg% | 1_2 | 20613:23 | 9 | BAV | 3 | 78 | 66 | Alarm Sources / Htg Pct
#sav-b23-a_/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | CER 50H SAV-B23-A | Htg Stpt | 1_2 | 20613:23 | 8 | BAV | 3 | 78 | 68 | Alarm Sources / Heat Stpt
#sav-b23-a_/m277 | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | CER 50H SAV-B23-A | GEX Dmpr Pos | 1_2 | 20613:23 | 3 | BAV | 3 | 78 | 56 | point name (m276)
#sav-b23-a_/m310 | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | CER 50H SAV-B23-A | SAV Dmpr Pos | 1_2 | 20613:23 | 20 | BAV | 3 | 78 | 59 | point name (m309)
#sav-b23-a_/m320 | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | CER 50H SAV-B23-A | Supply Flow | 1_2 | 20613:23 | 24 | BAV | 3 | 78 | 61 | point name (m319)
#sav-b23-a_/m322 | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | CER 50H SAV-B23-A | Flow Difference | 1_2 | 20613:23 | 25 | BAV | 3 | 78 | 62 | point name (m321)
#sav-b23-a_/m328 | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | CER 50H SAV-B23-A | Exhaust Flow Stpt | 1_2 | 20613:23 | 28 | BAV | 3 | 78 | 63 | point name (m327)
#sav-b6-a/cl_pct_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Titan 090B North SAV-B6-A | Clg% | 1_2 | 20613:6 | 2 | BAV | 3 | 94 | 65 | Alarm Sources / Clg Pct
#sav-b6-a/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Titan 090B North SAV-B6-A | Clg Stpt | 1_2 | 20613:6 | 5 | BAV | 3 | 94 | 67 | Alarm Sources / Cool Stpt
#sav-b6-a/ht_pct_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Titan 090B North SAV-B6-A | Htg% | 1_2 | 20613:6 | 9 | BAV | 3 | 94 | 66 | Alarm Sources / Htg Pct
#sav-b6-a/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Titan 090B North SAV-B6-A | Htg Stpt | 1_2 | 20613:6 | 8 | BAV | 3 | 94 | 68 | Alarm Sources / Heat Stpt
#sav-b6-a/m277 | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Titan 090B North SAV-B6-A | GEX Dmpr Pos | 1_2 | 20613:6 | 3 | BAV | 3 | 94 | 56 | point name (m276)
#sav-b6-a/m310 | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Titan 090B North SAV-B6-A | SAV Dmpr Pos | 1_2 | 20613:6 | 20 | BAV | 3 | 94 | 59 | point name (m309)
#sav-b6-a/m320 | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Titan 090B North SAV-B6-A | Supply Flow | 1_2 | 20613:6 | 24 | BAV | 3 | 94 | 61 | point name (m319)
#sav-b6-a/m322 | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Titan 090B North SAV-B6-A | Flow Difference | 1_2 | 20613:6 | 25 | BAV | 3 | 94 | 62 | point name (m321)
#sav-b6-a/m328 | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Titan 090B North SAV-B6-A | Exhaust Flow Stpt | 1_2 | 20613:6 | 28 | BAV | 3 | 94 | 63 | point name (m327)
#sav-b2-c/cl_pct_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Prep 090G SAV-B2-C | Clg% | 1_2 | 20613:2 | 2 | BAV | 3 | 74 | 65 | Alarm Sources / Clg Pct
#sav-b2-c/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Prep 090G SAV-B2-C | Clg Stpt | 1_2 | 20613:2 | 5 | BAV | 3 | 74 | 67 | Alarm Sources / Cool Stpt
#sav-b2-c/ht_pct_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Prep 090G SAV-B2-C | Htg% | 1_2 | 20613:2 | 9 | BAV | 3 | 74 | 66 | Alarm Sources / Htg Pct
#sav-b2-c/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Prep 090G SAV-B2-C | Htg Stpt | 1_2 | 20613:2 | 8 | BAV | 3 | 74 | 68 | Alarm Sources / Heat Stpt
#sav-b2-c/m277 | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Prep 090G SAV-B2-C | GEX Dmpr Pos | 1_2 | 20613:2 | 3 | BAV | 3 | 74 | 56 | point name (m276)
#sav-b2-c/m310 | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Prep 090G SAV-B2-C | SAV Dmpr Pos | 1_2 | 20613:2 | 20 | BAV | 3 | 74 | 59 | point name (m309)
#sav-b2-c/m320 | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Prep 090G SAV-B2-C | Supply Flow | 1_2 | 20613:2 | 24 | BAV | 3 | 74 | 61 | point name (m319)
#sav-b2-c/m322 | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Prep 090G SAV-B2-C | Flow Difference | 1_2 | 20613:2 | 25 | BAV | 3 | 74 | 62 | point name (m321)
#sav-b2-c/m328 | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Prep 090G SAV-B2-C | Exhaust Flow Stpt | 1_2 | 20613:2 | 28 | BAV | 3 | 74 | 63 | point name (m327)
#sav-b3-b/cl_pct_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Imaging 090 SAV-B3-B | Clg% | 1_2 | 20613:3 | 2 | BAV | 3 | 85 | 65 | Alarm Sources / Clg Pct
#sav-b3-b/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Imaging 090 SAV-B3-B | Clg Stpt | 1_2 | 20613:3 | 5 | BAV | 3 | 85 | 67 | Alarm Sources / Cool Stpt
#sav-b3-b/ht_pct_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Imaging 090 SAV-B3-B | Htg% | 1_2 | 20613:3 | 9 | BAV | 3 | 85 | 66 | Alarm Sources / Htg Pct
#sav-b3-b/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Imaging 090 SAV-B3-B | Htg Stpt | 1_2 | 20613:3 | 8 | BAV | 3 | 85 | 68 | Alarm Sources / Heat Stpt
#sav-b3-b/m277 | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Imaging 090 SAV-B3-B | GEX Dmpr Pos | 1_2 | 20613:3 | 3 | BAV | 3 | 85 | 56 | point name (m276)
#sav-b3-b/m310 | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Imaging 090 SAV-B3-B | SAV Dmpr Pos | 1_2 | 20613:3 | 20 | BAV | 3 | 85 | 59 | point name (m309)
#sav-b3-b/m320 | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Imaging 090 SAV-B3-B | Supply Flow | 1_2 | 20613:3 | 24 | BAV | 3 | 85 | 61 | point name (m319)
#sav-b3-b/m322 | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Imaging 090 SAV-B3-B | Flow Difference | 1_2 | 20613:3 | 25 | BAV | 3 | 85 | 62 | point name (m321)
#sav-b3-b/m328 | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Imaging 090 SAV-B3-B | Exhaust Flow Stpt | 1_2 | 20613:3 | 28 | BAV | 3 | 85 | 63 | point name (m327)
#vav-1-18/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | Scholarly Activity 102 VAV-1-18 | Cool Stpt | 4 | 20604:4 | 27 | BAV | 3 | 1 | 47 | Alarm Sources / Cool Stpt
#vav-1-18/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | Scholarly Activity 102 VAV-1-18 | Heat Stpt | 4 | 20604:4 | 28 | BAV | 3 | 1 | 48 | Alarm Sources / Heat Stpt
#vav-1-19/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | Hallway 1C6 VAV-1-19 | Cool Stpt | 4 | 20604:5 | 27 | BAV | 3 | 2 | 47 | Alarm Sources / Cool Stpt
#vav-1-19/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | Hallway 1C6 VAV-1-19 | Heat Stpt | 4 | 20604:5 | 28 | BAV | 3 | 2 | 48 | Alarm Sources / Heat Stpt
#vav-1-20/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | Hallway 1C1 VAV-1-20 | Cool Stpt | 4 | 20604:6 | 27 | BAV | 3 | 3 | 47 | Alarm Sources / Cool Stpt
#vav-1-20/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | Hallway 1C1 VAV-1-20 | Heat Stpt | 4 | 20604:6 | 28 | BAV | 3 | 3 | 48 | Alarm Sources / Heat Stpt
#vav-1-21/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | Printers 120C VAV-1-21 | Cool Stpt | 4 | 20604:7 | 27 | BAV | 3 | 4 | 47 | Alarm Sources / Cool Stpt
#vav-1-21/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | Printers 120C VAV-1-21 | Heat Stpt | 4 | 20604:7 | 28 | BAV | 3 | 4 | 48 | Alarm Sources / Heat Stpt
#vav-1-22/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | Research Equip. 120D VAV-1-22 | Cool Stpt | 4 | 20604:8 | 27 | BAV | 3 | 5 | 47 | Alarm Sources / Cool Stpt
#vav-1-22/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | Research Equip. 120D VAV-1-22 | Heat Stpt | 4 | 20604:8 | 28 | BAV | 3 | 5 | 48 | Alarm Sources / Heat Stpt
#vav-1-23/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | Breakout 120J VAV-1-23 | Cool Stpt | 4 | 20604:9 | 27 | BAV | 3 | 6 | 47 | Alarm Sources / Cool Stpt
#vav-1-23/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | Breakout 120J VAV-1-23 | Heat Stpt | 4 | 20604:9 | 28 | BAV | 3 | 6 | 48 | Alarm Sources / Heat Stpt
#vav-1-24/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | Office 120E-H VAV-1-24 | Cool Stpt | 4 | 20604:10 | 27 | BAV | 3 | 7 | 47 | Alarm Sources / Cool Stpt
#vav-1-24/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | Office 120E-H VAV-1-24 | Heat Stpt | 4 | 20604:10 | 28 | BAV | 3 | 7 | 48 | Alarm Sources / Heat Stpt
#vav-1-25/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | Computation 120A&B VAV-1-25 | Cool Stpt | 4 | 20604:11 | 27 | BAV | 3 | 8 | 47 | Alarm Sources / Cool Stpt
#vav-1-25/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | Computation 120A&B VAV-1-25 | Heat Stpt | 4 | 20604:11 | 28 | BAV | 3 | 8 | 48 | Alarm Sources / Heat Stpt
#vav-2-24/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Hallway 2C5 VAV-2-24 | Cool Stpt | 4 | 20620:1 | 27 | BAV | 3 | 9 | 47 | Alarm Sources / Cool Stpt
#vav-2-24/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Hallway 2C5 VAV-2-24 | Heat Stpt | 4 | 20620:1 | 28 | BAV | 3 | 9 | 48 | Alarm Sources / Heat Stpt
#vav-2-25/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Hallway 2C1,6,7 VAV-2-25 | Cool Stpt | 4 | 20620:2 | 27 | BAV | 3 | 10 | 47 | Alarm Sources / Cool Stpt
#vav-2-25/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Hallway 2C1,6,7 VAV-2-25 | Heat Stpt | 4 | 20620:2 | 28 | BAV | 3 | 10 | 48 | Alarm Sources / Heat Stpt
#vav-2-26/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Conference 224 VAV-2-26 | Clg Stpt | 4 | 20620:3 | 3 | BAV | 3 | 11 | 47 | Alarm Sources / Cool Stpt
#vav-2-26/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Conference 224 VAV-2-26 | Htg Stpt | 4 | 20620:3 | 8 | BAV | 3 | 11 | 48 | Alarm Sources / Heat Stpt
#vav-2-27/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Office 222 & 223 VAV-2-27 | Cool Stpt | 4 | 20620:4 | 27 | BAV | 3 | 12 | 47 | Alarm Sources / Cool Stpt
#vav-2-27/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Office 222 & 223 VAV-2-27 | Heat Stpt | 4 | 20620:4 | 28 | BAV | 3 | 12 | 48 | Alarm Sources / Heat Stpt
#vav-2-28/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Hallway 2C4, Office 221 VAV-2-28 | Cool Stpt | 4 | 20620:5 | 27 | BAV | 3 | 13 | 47 | Alarm Sources / Cool Stpt
#vav-2-28/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Hallway 2C4, Office 221 VAV-2-28 | Heat Stpt | 4 | 20620:5 | 28 | BAV | 3 | 13 | 48 | Alarm Sources / Heat Stpt
#vav-2-29/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Scholarly Activity 220 VAV-2-29 | Clg Stpt | 4 | 20620:6 | 3 | BAV | 3 | 14 | 47 | Alarm Sources / Cool Stpt
#vav-2-29/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Scholarly Activity 220 VAV-2-29 | Htg Stpt | 4 | 20620:6 | 8 | BAV | 3 | 14 | 48 | Alarm Sources / Heat Stpt
#vav-2-30/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Office 207-217 VAV-2-30 | Cool Stpt | 4 | 20620:7 | 27 | BAV | 3 | 15 | 47 | Alarm Sources / Cool Stpt
#vav-2-30/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Office 207-217 VAV-2-30 | Heat Stpt | 4 | 20620:7 | 28 | BAV | 3 | 15 | 48 | Alarm Sources / Heat Stpt
#vav-2-31/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | CSE Storage & Soldering 218 & 219 VAV-2-31 | Cool Stpt | 4 | 20620:8 | 27 | BAV | 3 | 16 | 47 | Alarm Sources / Cool Stpt
#vav-2-31/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | CSE Storage & Soldering 218 & 219 VAV-2-31 | Heat Stpt | 4 | 20620:8 | 28 | BAV | 3 | 16 | 48 | Alarm Sources / Heat Stpt
#vav-2-32/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Research Group 5 213F VAV-2-32 | Cool Stpt | 4 | 20620:9 | 27 | BAV | 3 | 17 | 47 | Alarm Sources / Cool Stpt
#vav-2-32/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Research Group 5 213F VAV-2-32 | Heat Stpt | 4 | 20620:9 | 28 | BAV | 3 | 17 | 48 | Alarm Sources / Heat Stpt
#vav-2-33/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Research Group 1-3 213C-E VAV-2-33 | Cool Stpt | 4 | 20620:10 | 27 | BAV | 3 | 18 | 47 | Alarm Sources / Cool Stpt
#vav-2-33/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Research Group 1-3 213C-E VAV-2-33 | Heat Stpt | 4 | 20620:10 | 28 | BAV | 3 | 18 | 48 | Alarm Sources / Heat Stpt
#vav-2-34/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | CSE Break Out 213A VAV-2-34 | Cool Stpt | 4 | 20620:11 | 27 | BAV | 3 | 19 | 47 | Alarm Sources / Cool Stpt
#vav-2-34/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | CSE Break Out 213A VAV-2-34 | Heat Stpt | 4 | 20620:11 | 28 | BAV | 3 | 19 | 48 | Alarm Sources / Heat Stpt
#vav-2-35/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Hallway 2C2 & 3 VAV-2-35 | Cool Stpt | 4 | 20620:12 | 27 | BAV | 3 | 20 | 47 | Alarm Sources / Cool Stpt
#vav-2-35/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Hallway 2C2 & 3 VAV-2-35 | Heat Stpt | 4 | 20620:12 | 28 | BAV | 3 | 20 | 48 | Alarm Sources / Heat Stpt
#vav-2-36/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Hallway 213 VAV-2-36 | Cool Stpt | 4 | 20620:13 | 27 | BAV | 3 | 21 | 47 | Alarm Sources / Cool Stpt
#vav-2-36/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Hallway 213 VAV-2-36 | Heat Stpt | 4 | 20620:13 | 28 | BAV | 3 | 21 | 48 | Alarm Sources / Heat Stpt
#vav-2-37/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Research Group 4 213B VAV-2-37 | Cool Stpt | 4 | 20620:14 | 27 | BAV | 3 | 22 | 47 | Alarm Sources / Cool Stpt
#vav-2-37/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Research Group 4 213B VAV-2-37 | Heat Stpt | 4 | 20620:14 | 28 | BAV | 3 | 22 | 48 | Alarm Sources / Heat Stpt
#vav-2-38/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | CSE Lab 206 VAV-2-38 | Cool Stpt | 4 | 20620:15 | 27 | BAV | 3 | 23 | 47 | Alarm Sources / Cool Stpt
#vav-2-38/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | CSE Lab 206 VAV-2-38 | Heat Stpt | 4 | 20620:15 | 28 | BAV | 3 | 23 | 48 | Alarm Sources / Heat Stpt
#vav-2-39/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Office 205 VAV-2-39 | Cool Stpt | 4 | 20620:16 | 27 | BAV | 3 | 24 | 47 | Alarm Sources / Cool Stpt
#vav-2-39/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Office 205 VAV-2-39 | Heat Stpt | 4 | 20620:16 | 28 | BAV | 3 | 24 | 48 | Alarm Sources / Heat Stpt
#vav-3-22/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Conference 301 VAV-3-22 | Cool Stpt | 4 | 20620:17 | 27 | BAV | 3 | 25 | 47 | Alarm Sources / Cool Stpt
#vav-3-22/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Conference 301 VAV-3-22 | Heat Stpt | 4 | 20620:17 | 28 | BAV | 3 | 25 | 48 | Alarm Sources / Heat Stpt
#vav-3-23/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Hallway 3C1,5,6,7 VAV-3-23 | Cool Stpt | 4 | 20620:18 | 27 | BAV | 3 | 26 | 47 | Alarm Sources / Cool Stpt
#vav-3-23/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Hallway 3C1,5,6,7 VAV-3-23 | Heat Stpt | 4 | 20620:18 | 28 | BAV | 3 | 26 | 48 | Alarm Sources / Heat Stpt
#vav-3-24/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Video Conference 302 VAV-3-24 | Cool Stpt | 4 | 20620:19 | 27 | BAV | 3 | 27 | 47 | Alarm Sources / Cool Stpt
#vav-3-24/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Video Conference 302 VAV-3-24 | Heat Stpt | 4 | 20620:19 | 28 | BAV | 3 | 27 | 48 | Alarm Sources / Heat Stpt
#vav-3-25/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Hallway 3C4, Conference Support 325 VAV-3-25 | Cool Stpt | 4 | 20620:20 | 27 | BAV | 3 | 28 | 47 | Alarm Sources / Cool Stpt
#vav-3-25/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Hallway 3C4, Conference Support 325 VAV-3-25 | Heat Stpt | 4 | 20620:20 | 28 | BAV | 3 | 28 | 48 | Alarm Sources / Heat Stpt
#vav-3-26/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Conference 324 VAV-3-26 | Clg Stpt | 4 | 20620:21 | 3 | BAV | 3 | 29 | 47 | Alarm Sources / Cool Stpt
#vav-3-26/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Conference 324 VAV-3-26 | Htg Stpt | 4 | 20620:21 | 8 | BAV | 3 | 29 | 48 | Alarm Sources / Heat Stpt
#vav-3-27/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Research Group 8 314 VAV-3-27 | Cool Stpt | 4 | 20620:22 | 27 | BAV | 3 | 30 | 47 | Alarm Sources / Cool Stpt
#vav-3-27/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Research Group 8 314 VAV-3-27 | Heat Stpt | 4 | 20620:22 | 28 | BAV | 3 | 30 | 48 | Alarm Sources / Heat Stpt
#vav-3-28/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Research Group 7 313 VAV-3-28 | Cool Stpt | 4 | 20620:23 | 27 | BAV | 3 | 31 | 47 | Alarm Sources / Cool Stpt
#vav-3-28/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Research Group 7 313 VAV-3-28 | Heat Stpt | 4 | 20620:23 | 28 | BAV | 3 | 31 | 48 | Alarm Sources / Heat Stpt
#vav-3-29/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Research Group 6 311 VAV-3-29 | Cool Stpt | 4 | 20620:24 | 27 | BAV | 3 | 32 | 47 | Alarm Sources / Cool Stpt
#vav-3-29/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Research Group 6 311 VAV-3-29 | Heat Stpt | 4 | 20620:24 | 28 | BAV | 3 | 32 | 48 | Alarm Sources / Heat Stpt
#vav-3-30/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Office 305 VAV-3-30 | Cool Stpt | 4 | 20620:25 | 27 | BAV | 3 | 33 | 47 | Alarm Sources / Cool Stpt
#vav-3-30/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Office 305 VAV-3-30 | Heat Stpt | 4 | 20620:25 | 28 | BAV | 3 | 33 | 48 | Alarm Sources / Heat Stpt
#vav-3-31/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Office 310 D,E Lactaion 312 VAV-3-31 | Cool Stpt | 4 | 20620:26 | 27 | BAV | 3 | 34 | 47 | Alarm Sources / Cool Stpt
#vav-3-31/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Office 310 D,E Lactaion 312 VAV-3-31 | Heat Stpt | 4 | 20620:26 | 28 | BAV | 3 | 34 | 48 | Alarm Sources / Heat Stpt
#vav-3-32/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Office Support 315B & C VAV-3-32 | Cool Stpt | 4 | 20620:27 | 27 | BAV | 3 | 35 | 47 | Alarm Sources / Cool Stpt
#vav-3-32/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Office Support 315B & C VAV-3-32 | Heat Stpt | 4 | 20620:27 | 28 | BAV | 3 | 35 | 48 | Alarm Sources / Heat Stpt
#vav-3-33/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Office 321, 322, 323 VAV-3-33 | Cool Stpt | 4 | 20620:28 | 27 | BAV | 3 | 36 | 47 | Alarm Sources / Cool Stpt
#vav-3-33/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Office 321, 322, 323 VAV-3-33 | Heat Stpt | 4 | 20620:28 | 28 | BAV | 3 | 36 | 48 | Alarm Sources / Heat Stpt
#vav-3-34/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Scholarly Activity 320 VAV-3-34 | Clg Stpt | 4 | 20620:29 | 3 | BAV | 3 | 37 | 47 | Alarm Sources / Cool Stpt
#vav-3-34/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Scholarly Activity 320 VAV-3-34 | Htg Stpt | 4 | 20620:29 | 8 | BAV | 3 | 37 | 48 | Alarm Sources / Heat Stpt
#vav-3-35/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Engineering 315, Reception 315A VAV-3-35 | Cool Stpt | 4 | 20620:30 | 27 | BAV | 3 | 38 | 47 | Alarm Sources / Cool Stpt
#vav-3-35/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Engineering 315, Reception 315A VAV-3-35 | Heat Stpt | 4 | 20620:30 | 28 | BAV | 3 | 38 | 48 | Alarm Sources / Heat Stpt
#vav-3-36/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Office 305A, 310A-C, 315E-G VAV-3-36 | Cool Stpt | 4 | 20620:31 | 27 | BAV | 3 | 39 | 47 | Alarm Sources / Cool Stpt
#vav-3-36/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Office 305A, 310A-C, 315E-G VAV-3-36 | Heat Stpt | 4 | 20620:31 | 28 | BAV | 3 | 39 | 48 | Alarm Sources / Heat Stpt
#vav-3-37/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Office 315H VAV-3-37 | Cool Stpt | 4 | 20620:32 | 27 | BAV | 3 | 40 | 47 | Alarm Sources / Cool Stpt
#vav-3-37/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Office 315H VAV-3-37 | Heat Stpt | 4 | 20620:32 | 28 | BAV | 3 | 40 | 48 | Alarm Sources / Heat Stpt
#vav-b-34/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Basement |  | Research Equip. 001 VAV-B-34 | Cool Stpt | 4 | 20604:1 | 27 | BAV | 3 | 41 | 47 | Alarm Sources / Cool Stpt
#vav-b-34/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Basement |  | Research Equip. 001 VAV-B-34 | Heat Stpt | 4 | 20604:1 | 28 | BAV | 3 | 41 | 48 | Alarm Sources / Heat Stpt
#vav-b-35/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Basement |  | Vending 002 VAV-B-35 | Cool Stpt | 4 | 20604:2 | 27 | BAV | 3 | 42 | 47 | Alarm Sources / Cool Stpt
#vav-b-35/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Basement |  | Vending 002 VAV-B-35 | Heat Stpt | 4 | 20604:2 | 28 | BAV | 3 | 42 | 48 | Alarm Sources / Heat Stpt
#vav-b-36/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Basement |  | Hallway 0C6 VAV-B-36 | Cool Stpt | 4 | 20604:3 | 27 | BAV | 3 | 43 | 47 | Alarm Sources / Cool Stpt
#vav-b-36/ht_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Basement |  | Hallway 0C6 VAV-B-36 | Heat Stpt | 4 | 20604:3 | 28 | BAV | 3 | 43 | 48 | Alarm Sources / Heat Stpt
#vav-2-26/flow_input | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Conference 224 VAV-2-26 | Flow Control / Flow Input | 4 | 20620:3 | 1 | BAI | 2 | 11 | 52 | Flow Control / Flow Input
#vav-2-29/air_flow/flow_input | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Scholarly Activity 220 VAV-2-29 | Flow Control / Flow Input | 4 | 20620:6 | 1 | BAI | 2 | 14 | 52 | Flow Control / Flow Input