## DatabaseMappings2
Path | Server | Location | Branch | SubBranch | ControlProgram | Point | Zone | BacnetAddress | BacnetDevId | BacnetObjectType | PointType | ComponentId | PathMappingsId | Point ALC
#ahu-3_0206/cwcr | 10.20.0.47 | Science & Engineering 2: 0206 | Roof |  | AHU-3 | CW Coil Return | 3 | 20606:24 | 1 | BAI | 2 | 1 | 10 | CW Coil Return
#ahu-3_0206/cwcs | 10.20.0.47 | Science & Engineering 2: 0206 | Roof |  | AHU-3 | CW Coil Supply | 3 | 20606:24 | 2 | BAI | 2 | 1 | 11 | CW Coil Supply
#ahu-3_0206/hwcr | 10.20.0.47 | Science & Engineering 2: 0206 | Roof |  | AHU-3 | HW Coil Return | 3 | 20606:24 | 5 | BAI | 2 | 2 | 13 | HW Coil Return
#ahu-3_0206/hwcs | 10.20.0.47 | Science & Engineering 2: 0206 | Roof |  | AHU-3 | HW Coil Supply | 3 | 20606:24 | 6 | BAI | 2 | 2 | 14 | HW Coil Supply
#ahu-3_0206/osacfm | 10.20.0.47 | Science & Engineering 2: 0206 | Roof |  | AHU-3 | OSA CFM | 3 | 20606:24 | 9 | BAI | 2 | 4 | 33 | OSA CFM
#ahu-4_0206/cwcr | 10.20.0.47 | Science & Engineering 2: 0206 | Roof |  | AHU-4 | CW Coil Return | 4 | 20620:75 | 1 | BAI | 2 | 3 | 10 | CW Coil Return
#ahu-4_0206/cwcs | 10.20.0.47 | Science & Engineering 2: 0206 | Roof |  | AHU-4 | CW Coil Supply | 4 | 20620:75 | 2 | BAI | 2 | 3 | 11 | CW Coil Supply
#ahu-4_0206/hwcr | 10.20.0.47 | Science & Engineering 2: 0206 | Roof |  | AHU-4 | HW Coil Return | 4 | 20620:75 | 5 | BAI | 2 | 4 | 13 | HW Coil Return
#ahu-4_0206/hwcs | 10.20.0.47 | Science & Engineering 2: 0206 | Roof |  | AHU-4 | HW Coil Supply | 4 | 20620:75 | 6 | BAI | 2 | 4 | 14 | HW Coil Supply
#ahu-4_0206/osacfm | 10.20.0.47 | Science & Engineering 2: 0206 | Roof |  | AHU-4 | OSA CFM | 4 | 20620:75 | 9 | BAI | 2 | 5 | 33 | OSA CFM
#copy_of_sav-b38-a_/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Organic Chemistry 330 3A22 | Zone Temp / Zone Temp | 1_2 | 20606:25 | 1 | BAI | 2 | 1 | 69 | Zone Temp / Zone Temp
#sav-1a1-c/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Long Bar | Wind Tunnel 185 West SAV-1A1-C | Zone Temp / Zone Temp | 1_2 | 20613:34 | 1 | BAI | 2 | 2 | 69 | Zone Temp / Zone Temp
#sav-1a2-c/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Long Bar | Wind Tunnel 185 East SAV-1A2-C | Zone Temp / Zone Temp | 1_2 | 20613:35 | 1 | BAI | 2 | 3 | 69 | Zone Temp / Zone Temp
#sav-1a3-b/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Long Bar | Instructor Support 190 SAV-1A3-B | Zone Temp / Zone Temp | 1_2 | 20613:36 | 1 | BAI | 2 | 4 | 69 | Zone Temp / Zone Temp
#sav-1a4-c/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Long Bar | Thermofluid Lab 180 SAV-1A4-C | Zone Temp / Zone Temp | 1_2 | 20613:37 | 1 | BAI | 2 | 5 | 69 | Zone Temp / Zone Temp
#sav-1a5-c/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Long Bar | Prep 170 SAV-1A5-C | Zone Temp / Zone Temp | 1_2 | 20613:38 | 1 | BAI | 2 | 6 | 69 | Zone Temp / Zone Temp
#sav-1a6-c/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Long Bar | Wet Lab 160 West SAV-1A6-C | Zone Temp / Zone Temp | 1_2 | 20613:39 | 1 | BAI | 2 | 7 | 69 | Zone Temp / Zone Temp
#sav-1a7-c/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Long Bar | Wet Lab 160 East SAV-1A7-C | Zone Temp / Zone Temp | 1_2 | 20613:40 | 1 | BAI | 2 | 8 | 69 | Zone Temp / Zone Temp
#sav-1a8-c/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Long Bar | Machine Shop 175 SAV-1A8-C | Zone Temp / Zone Temp | 1_2 | 20613:41 | 1 | BAI | 2 | 9 | 69 | Zone Temp / Zone Temp
#sav-1b10-c/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Long Bar | Learning 165 East SAV-1B10-C | Zone Temp / Zone Temp | 1_2 | 20613:43 | 1 | BAI | 2 | 10 | 69 | Zone Temp / Zone Temp
#sav-1b11-c/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Long Bar | Wet Lab 150 West SAV-1B11-C | Zone Temp / Zone Temp | 1_2 | 20613:44 | 1 | BAI | 2 | 11 | 69 | Zone Temp / Zone Temp
#sav-1b12-c/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Long Bar | Wet Lab 150 East SAV-1B12-C | Zone Temp / Zone Temp | 1_2 | 20613:45 | 1 | BAI | 2 | 12 | 69 | Zone Temp / Zone Temp
#sav-1b13-c/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Long Bar | Prep 140 SAV-1B13-C | Zone Temp / Zone Temp | 1_2 | 20613:46 | 1 | BAI | 2 | 13 | 69 | Zone Temp / Zone Temp
#sav-1b14-c/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Long Bar | Wet Lab 130 West SAV-1B14-C | Zone Temp / Zone Temp | 1_2 | 20613:47 | 1 | BAI | 2 | 14 | 69 | Zone Temp / Zone Temp
#sav-1b15-c/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Long Bar | Wet Lab 130 East SAV-1B15-C | Zone Temp / Zone Temp | 1_2 | 20613:48 | 1 | BAI | 2 | 15 | 69 | Zone Temp / Zone Temp
#sav-1b16-c/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Long Bar | Electronics 155 SAV-1B16-C | Zone Temp / Zone Temp | 1_2 | 20613:49 | 1 | BAI | 2 | 16 | 69 | Zone Temp / Zone Temp
#sav-1b17-a/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Long Bar | Tech Office 135 SAV-1B17-CA | Zone Temp / Zone Temp | 1_2 | 20613:50 | 1 | BAI | 2 | 17 | 69 | Zone Temp / Zone Temp
#sav-1b9-c/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Long Bar | Learning 165 West SAV-1B9-C | Zone Temp / Zone Temp | 1_2 | 20613:42 | 1 | BAI | 2 | 18 | 69 | Zone Temp / Zone Temp
#sav-2a10-c/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Hallway 230 SAV-2A10-C | Zone Temp / Zone Temp | 1_2 | 20618:10 | 1 | BAI | 2 | 20 | 69 | Zone Temp / Zone Temp
#sav-2a11-a/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Hallway 2C9 SAV-2A11-A | Zone Temp / Zone Temp | 1_2 | 20618:11 | 1 | BAI | 2 | 21 | 69 | Zone Temp / Zone Temp
#sav-2a12-a/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Mech. Engineering 230S SAV-2A12-A | Zone Temp / Zone Temp | 1_2 | 20618:12 | 1 | BAI | 2 | 22 | 69 | Zone Temp / Zone Temp
#sav-2a13-b/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Mech. Engineering 230J SAV-2A13-B | Zone Temp / Zone Temp | 1_2 | 20618:13 | 1 | BAI | 2 | 23 | 69 | Zone Temp / Zone Temp
#sav-2a14-a/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Mech. Engineering 230T SAV-2A14-A | Zone Temp / Zone Temp | 1_2 | 20618:14 | 1 | BAI | 2 | 24 | 69 | Zone Temp / Zone Temp
#sav-2a15-c/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Mech. Engineering 230H SAV-2A15-C | Zone Temp / Zone Temp | 1_2 | 20618:15 | 1 | BAI | 2 | 25 | 69 | Zone Temp / Zone Temp
#sav-2a16-b/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Mech. Engineering 230F SAV-2A16-B | Zone Temp / Zone Temp | 1_2 | 20618:16 | 1 | BAI | 2 | 26 | 69 | Zone Temp / Zone Temp
#sav-2a17-a/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Hallway 230 SAV-2A17-A | Zone Temp / Zone Temp | 1_2 | 20618:17 | 1 | BAI | 2 | 27 | 69 | Zone Temp / Zone Temp
#sav-2a18-a/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Mech. Engineering 230U SAV-2A18-A | Zone Temp / Zone Temp | 1_2 | 20618:18 | 1 | BAI | 2 | 28 | 69 | Zone Temp / Zone Temp
#sav-2a19-d/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Mech. Engineering 230E SAV-2A19-D | Zone Temp / Zone Temp | 1_2 | 20618:19 | 1 | BAI | 2 | 29 | 69 | Zone Temp / Zone Temp
#sav-2a20-a/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Mech. Engineering 230V SAV-2A20-A | Zone Temp / Zone Temp | 1_2 | 20618:20 | 1 | BAI | 2 | 31 | 69 | Zone Temp / Zone Temp
#sav-2a21-c/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Mech. Engineering 230D SAV-2A21-C | Zone Temp / Zone Temp | 1_2 | 20618:21 | 1 | BAI | 2 | 32 | 69 | Zone Temp / Zone Temp
#sav-2a22-a/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Mech. Engineering 230C SAV-2A22-A | Zone Temp / Zone Temp | 1_2 | 20618:22 | 1 | BAI | 2 | 33 | 69 | Zone Temp / Zone Temp
#sav-2a3-a/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Computation 230Q SAV-2A3-A | Zone Temp / Zone Temp | 1_2 | 20618:3 | 1 | BAI | 2 | 35 | 69 | Zone Temp / Zone Temp
#sav-2a4-a/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Mech. Enginnering 230P SAV-2A4-A | Zone Temp / Zone Temp | 1_2 | 20618:4 | 1 | BAI | 2 | 36 | 69 | Zone Temp / Zone Temp
#sav-2a5-c/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Mech. Engineering 230N SAV-2A5-C | Zone Temp / Zone Temp | 1_2 | 20618:5 | 1 | BAI | 2 | 37 | 69 | Zone Temp / Zone Temp
#sav-2a6-a/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Office 265 SAV-2A6-CA | Zone Temp / Zone Temp | 1_2 | 20618:6 | 1 | BAI | 2 | 38 | 69 | Zone Temp / Zone Temp
#sav-2a7-b/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Mech. Enginnering 230M SAV-2A7-B | Zone Temp / Zone Temp | 1_2 | 20618:7 | 1 | BAI | 2 | 39 | 69 | Zone Temp / Zone Temp
#sav-2a8-a/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Mech. Engineering 230R SAV-2A8-A | Zone Temp / Zone Temp | 1_2 | 20618:8 | 1 | BAI | 2 | 40 | 69 | Zone Temp / Zone Temp
#sav-2a9-b/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Mech Engineering 230K SAV-2A9-B | Zone Temp / Zone Temp | 1_2 | 20618:9 | 1 | BAI | 2 | 41 | 69 | Zone Temp / Zone Temp
#sav-3a10-b/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Cell Culture 340J SAV-3A10-B | Zone Temp / Zone Temp | 1_2 | 20618:33 | 1 | BAI | 2 | 43 | 69 | Zone Temp / Zone Temp
#sav-3a11-a/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Hallway 3C9 SAV-3A11-A | Zone Temp / Zone Temp | 1_2 | 20618:34 | 1 | BAI | 2 | 44 | 69 | Zone Temp / Zone Temp
#sav-3a12-b/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Cell Culture 340H SAV-3A12-B | Zone Temp / Zone Temp | 1_2 | 20618:35 | 1 | BAI | 2 | 45 | 69 | Zone Temp / Zone Temp
#sav-3a13-e/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Bioengineering 340 Center SAV-3A13-E | Zone Temp / Zone Temp | 1_2 | 20618:36 | 1 | BAI | 2 | 46 | 69 | Zone Temp / Zone Temp
#sav-3a14-a/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Cell Culture 340G SAV-3A14-A | Zone Temp / Zone Temp | 1_2 | 20618:37 | 1 | BAI | 2 | 47 | 69 | Zone Temp / Zone Temp
#sav-3a15-b/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Autoclave 355 SAV-3A15-B | Zone Temp / Zone Temp | 1_2 | 20618:38 | 1 | BAI | 2 | 48 | 69 | Zone Temp / Zone Temp
#sav-3a16-b/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Cell Culture 340F SAV-3A16-B | Zone Temp / Zone Temp | 1_2 | 20618:39 | 1 | BAI | 2 | 49 | 69 | Zone Temp / Zone Temp
#sav-3a17-a/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Cell Culture 340C SAV-3A17-A | Zone Temp / Zone Temp | 1_2 | 20618:40 | 1 | BAI | 2 | 50 | 69 | Zone Temp / Zone Temp
#sav-3a18-e/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Bioengineering 340 East SAV-3A18-E | Zone Temp / Zone Temp | 1_2 | 20618:41 | 1 | BAI | 2 | 51 | 69 | Zone Temp / Zone Temp
#sav-3a19-a/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Instrument 340D SAV-3A19-A | Zone Temp / Zone Temp | 1_2 | 20618:42 | 1 | BAI | 2 | 52 | 69 | Zone Temp / Zone Temp
#sav-3a20-a/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Instrument 340B SAV-3A20-A | Zone Temp / Zone Temp | 1_2 | 20618:43 | 1 | BAI | 2 | 54 | 69 | Zone Temp / Zone Temp
#sav-3a21-a/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Organic Chemistry 335 SAV-3A21-A | Zone Temp / Zone Temp | 1_2 | 20618:44 | 1 | BAI | 2 | 55 | 69 | Zone Temp / Zone Temp
#sav-3a3-a/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Office Support 365 SAV-3A3-A | Zone Temp / Zone Temp | 1_2 | 20618:26 | 1 | BAI | 2 | 56 | 69 | Zone Temp / Zone Temp
#sav-3a4-a/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Instrument 340P SAV-3A4-A | Zone Temp / Zone Temp | 1_2 | 20618:27 | 1 | BAI | 2 | 57 | 69 | Zone Temp / Zone Temp
#sav-3a5-b/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Instrument 340R SAV-3A5-B | Zone Temp / Zone Temp | 1_2 | 20618:28 | 1 | BAI | 2 | 58 | 69 | Zone Temp / Zone Temp
#sav-3a6-a/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Instrument 340Q SAV-3A6-A | Zone Temp / Zone Temp | 1_2 | 20618:29 | 1 | BAI | 2 | 59 | 69 | Zone Temp / Zone Temp
#sav-3a7-a/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Instrument 340N SAV-3A7-A | Zone Temp / Zone Temp | 1_2 | 20618:30 | 1 | BAI | 2 | 60 | 69 | Zone Temp / Zone Temp
#sav-3a8-e/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Bioengineering 340 West SAV-3A8-E | Zone Temp / Zone Temp | 1_2 | 20618:31 | 1 | BAI | 2 | 61 | 69 | Zone Temp / Zone Temp
#sav-3a9-a/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Cell Culture 340L SAV-3A9-A | Zone Temp / Zone Temp | 1_2 | 20618:32 | 1 | BAI | 2 | 62 | 69 | Zone Temp / Zone Temp
#sav-b1-a/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Microtome 090F SAV-B1-A | Zone Temp / Zone Temp | 1_2 | 20613:1 | 1 | BAI | 2 | 63 | 69 | Zone Temp / Zone Temp
#sav-b10-b/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | TEM 090C SAV-B10-B | Zone Temp / Zone Temp | 1_2 | 20613:10 | 1 | BAI | 2 | 64 | 69 | Zone Temp / Zone Temp
#sav-b11-a/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Instrument 080G SAV-B11-A | Zone Temp / Zone Temp | 1_2 | 20613:11 | 1 | BAI | 2 | 65 | 69 | Zone Temp / Zone Temp
#sav-b12-a/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Instrument 080F SAV-B12-A | Zone Temp / Zone Temp | 1_2 | 20613:12 | 1 | BAI | 2 | 66 | 69 | Zone Temp / Zone Temp
#sav-b13-e_/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Material Science 080 West SAV-B13-E | Zone Temp / Zone Temp | 1_2 | 20613:13 | 1 | BAI | 2 | 67 | 69 | Zone Temp / Zone Temp
#sav-b14-b/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Equipment 080C SAV-B14-B | Zone Temp / Zone Temp | 1_2 | 20613:14 | 1 | BAI | 2 | 68 | 69 | Zone Temp / Zone Temp
#sav-b15-a/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Instrument 080E SAV-B15-A | Zone Temp / Zone Temp | 1_2 | 20613:15 | 1 | BAI | 2 | 69 | 69 | Zone Temp / Zone Temp
#sav-b16-a_/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Instrument 080D SAV-B16-A | Zone Temp / Zone Temp | 1_2 | 20613:16 | 1 | BAI | 2 | 70 | 69 | Zone Temp / Zone Temp
#sav-b17-c_/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Hallway 0C9 SAV-B17-C | Zone Temp / Zone Temp | 1_2 | 20613:17 | 1 | BAI | 2 | 71 | 69 | Zone Temp / Zone Temp
#sav-b18-e_/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Material Science 080 East SAV-B18-E | Zone Temp / Zone Temp | 1_2 | 20613:18 | 1 | BAI | 2 | 72 | 69 | Zone Temp / Zone Temp
#sav-b19-a/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Computation 080A SAV-B19-A | Zone Temp / Zone Temp | 1_2 | 20613:19 | 1 | BAI | 2 | 73 | 69 | Zone Temp / Zone Temp
#sav-b2-c/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Prep 090G SAV-B2-C | Zone Temp / Zone Temp | 1_2 | 20613:2 | 1 | BAI | 2 | 74 | 69 | Zone Temp / Zone Temp
#sav-b20-b/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Laser lab 070 SAV-B20-B | Zone Temp / Zone Temp | 1_2 | 20613:20 | 1 | BAI | 2 | 75 | 69 | Zone Temp / Zone Temp
#sav-b21-e/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Material Science 080B SAV-B21-E | Zone Temp / Zone Temp | 1_2 | 20613:21 | 1 | BAI | 2 | 76 | 69 | Zone Temp / Zone Temp
#sav-b22-a/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Visualization 060 SAV-B22-A | Zone Temp / Zone Temp | 1_2 | 20613:22 | 1 | BAI | 2 | 77 | 69 | Zone Temp / Zone Temp
#sav-b23-a_/m423 | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | CER 50H SAV-B23-A | CER Temp | 1_2 | 20613:23 | 1 | BAI | 2 | 78 | 70 | CER Temp
#sav-b24-a_/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Support 050G SAV-B24-A | Zone Temp / Zone Temp | 1_2 | 20613:24 | 1 | BAI | 2 | 79 | 69 | Zone Temp / Zone Temp
#sav-b25-b/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Equipment 050D SAV-B25-B | Zone Temp / Zone Temp | 1_2 | 20613:25 | 1 | BAI | 2 | 80 | 69 | Zone Temp / Zone Temp
#sav-b26-a_/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Instrument 050F SAV-B26-A | Zone Temp / Zone Temp | 1_2 | 20613:26 | 1 | BAI | 2 | 81 | 69 | Zone Temp / Zone Temp
#sav-b27-e_/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Engineering 050 West SAV-B27-E | Zone Temp / Zone Temp | 1_2 | 20613:27 | 1 | BAI | 2 | 82 | 69 | Zone Temp / Zone Temp
#sav-b28-e_/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Engineering 050 East SAV-B28-E | Zone Temp / Zone Temp | 1_2 | 20613:28 | 1 | BAI | 2 | 83 | 69 | Zone Temp / Zone Temp
#sav-b29-b_/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Support 050A SAV-B29-B | Zone Temp / Zone Temp | 1_2 | 20613:29 | 1 | BAI | 2 | 84 | 69 | Zone Temp / Zone Temp
#sav-b3-b/hw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Imaging 090 SAV-B3-B | HW Valve | 1_2 | 20613:3 | 2 | BAO | 2 | 171 | 12 | HW Valve
#sav-b3-b/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Imaging 090 SAV-B3-B | Zone Temp / Zone Temp | 1_2 | 20613:3 | 1 | BAI | 2 | 85 | 69 | Zone Temp / Zone Temp
#sav-b30-a_/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Instrument 050C SAV-B30-A | Zone Temp / Zone Temp | 1_2 | 20613:30 | 1 | BAI | 2 | 86 | 69 | Zone Temp / Zone Temp
#sav-b31-a_/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Computation 050B SAV-B31-A | Zone Temp / Zone Temp | 1_2 | 20613:31 | 1 | BAI | 2 | 87 | 69 | Zone Temp / Zone Temp
#sav-b32-b_/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Equipment 050E SAV-B32-B | Zone Temp / Zone Temp | 1_2 | 20613:32 | 1 | BAI | 2 | 88 | 69 | Zone Temp / Zone Temp
#sav-b33-a_/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Server Tech 030 SAV-B33-A | Zone Temp / Zone Temp | 1_2 | 20613:33 | 1 | BAI | 2 | 89 | 69 | Zone Temp / Zone Temp
#sav-b37-d_/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Mass Spec 024 SAV-B37-D | Zone Temp / Zone Temp | 1_2 | 20604:12 | 1 | BAI | 2 | 90 | 69 | Zone Temp / Zone Temp
#sav-b38-a_/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | NMR Pumps 020C SAV-B38-A | Zone Temp / Zone Temp | 1_2 | 20604:13 | 1 | BAI | 2 | 91 | 69 | Zone Temp / Zone Temp
#sav-b4-a/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Training 090E SAV-B4-A | Zone Temp / Zone Temp | 1_2 | 20613:4 | 1 | BAI | 2 | 92 | 69 | Zone Temp / Zone Temp
#sav-b5-a/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | SEM 090D SAV-B5-A | Zone Temp / Zone Temp | 1_2 | 20613:5 | 1 | BAI | 2 | 93 | 69 | Zone Temp / Zone Temp
#sav-b7-b/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Dual Beam 090A SAV-B7-B | Zone Temp / Zone Temp | 1_2 | 20613:7 | 1 | BAI | 2 | 95 | 69 | Zone Temp / Zone Temp
#sav-b8-b/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Titan 090B South SAV-B8-B | Zone Temp / Zone Temp | 1_2 | 20613:8 | 1 | BAI | 2 | 96 | 69 | Zone Temp / Zone Temp
#sav-b9-b/lstat/zone_temp | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Pump 085 SAV-B9-B | Zone Temp / Zone Temp | 1_2 | 20613:9 | 1 | BAI | 2 | 97 | 69 | Zone Temp / Zone Temp
#vav-1-18/cw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | Scholarly Activity 102 VAV-1-18 | CW Valve | 4 | 20604:4 | 1 | BAO | 2 | 196 | 8 | CW Valve
#vav-1-19/cw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | Hallway 1C6 VAV-1-19 | CW Valve | 4 | 20604:5 | 1 | BAO | 2 | 198 | 8 | CW Valve
#vav-1-20/cw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | Hallway 1C1 VAV-1-20 | CW Valve | 4 | 20604:6 | 1 | BAO | 2 | 200 | 8 | CW Valve
#vav-1-21/cw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | Printers 120C VAV-1-21 | CW Valve | 4 | 20604:7 | 1 | BAO | 2 | 202 | 8 | CW Valve
#vav-1-22/cw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | Research Equip. 120D VAV-1-22 | CW Valve | 4 | 20604:8 | 1 | BAO | 2 | 204 | 8 | CW Valve
#vav-1-23/cw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | Breakout 120J VAV-1-23 | CW Valve | 4 | 20604:9 | 1 | BAO | 2 | 206 | 8 | CW Valve
#vav-1-24/cw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | Office 120E-H VAV-1-24 | CW Valve | 4 | 20604:10 | 1 | BAO | 2 | 208 | 8 | CW Valve
#vav-1-25/cw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | First Floor | Short bar | Computation 120A&B VAV-1-25 | CW Valve | 4 | 20604:11 | 1 | BAO | 2 | 210 | 8 | CW Valve
#vav-2-24/cw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Hallway 2C5 VAV-2-24 | CW Valve | 4 | 20620:1 | 1 | BAO | 2 | 212 | 8 | CW Valve
#vav-2-25/cw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Hallway 2C1,6,7 VAV-2-25 | CW Valve | 4 | 20620:2 | 1 | BAO | 2 | 214 | 8 | CW Valve
#vav-2-26/cw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Conference 224 VAV-2-26 | CW Valve | 4 | 20620:3 | 1 | BAO | 2 | 216 | 8 | CW Valve
#vav-2-26/flow_input | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Conference 224 VAV-2-26 | Flow Control / Flow Input | 4 | 20620:3 | 1 | BAI | 2 | 11 | 52 | Flow Control / Flow Input
#vav-2-26/hw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Conference 224 VAV-2-26 | HW Valve | 4 | 20620:3 | 2 | BFM | 2 | 217 | 12 | HW Valve
#vav-2-27/cw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Office 222 & 223 VAV-2-27 | CW Valve | 4 | 20620:4 | 1 | BAO | 2 | 218 | 8 | CW Valve
#vav-2-28/cw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Hallway 2C4, Office 221 VAV-2-28 | CW Valve | 4 | 20620:5 | 1 | BAO | 2 | 220 | 8 | CW Valve
#vav-2-29/air_flow/flow_input | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Scholarly Activity 220 VAV-2-29 | Flow Control / Flow Input | 4 | 20620:6 | 1 | BAI | 2 | 14 | 52 | Flow Control / Flow Input
#vav-2-29/cw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Scholarly Activity 220 VAV-2-29 | CW Valve | 4 | 20620:6 | 1 | BAO | 2 | 222 | 8 | CW Valve
#vav-2-29/hw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Scholarly Activity 220 VAV-2-29 | HW Valve | 4 | 20620:6 | 2 | BFM | 2 | 223 | 12 | HW Valve
#vav-2-30/cw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Office 207-217 VAV-2-30 | CW Valve | 4 | 20620:7 | 1 | BAO | 2 | 224 | 8 | CW Valve
#vav-2-31/cw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | CSE Storage & Soldering 218 & 219 VAV-2-31 | CW Valve | 4 | 20620:8 | 1 | BAO | 2 | 226 | 8 | CW Valve
#vav-2-32/cw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Research Group 5 213F VAV-2-32 | CW Valve | 4 | 20620:9 | 1 | BAO | 2 | 228 | 8 | CW Valve
#vav-2-33/cw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Research Group 1-3 213C-E VAV-2-33 | CW Valve | 4 | 20620:10 | 1 | BAO | 2 | 230 | 8 | CW Valve
#vav-2-34/cw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | CSE Break Out 213A VAV-2-34 | CW Valve | 4 | 20620:11 | 1 | BAO | 2 | 232 | 8 | CW Valve
#vav-2-35/cw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Hallway 2C2 & 3 VAV-2-35 | CW Valve | 4 | 20620:12 | 1 | BAO | 2 | 234 | 8 | CW Valve
#vav-2-36/cw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Hallway 213 VAV-2-36 | CW Valve | 4 | 20620:13 | 1 | BAO | 2 | 236 | 8 | CW Valve
#vav-2-37/cw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Research Group 4 213B VAV-2-37 | CW Valve | 4 | 20620:14 | 1 | BAO | 2 | 238 | 8 | CW Valve
#vav-2-38/cw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | CSE Lab 206 VAV-2-38 | CW Valve | 4 | 20620:15 | 1 | BAO | 2 | 240 | 8 | CW Valve
#vav-2-39/cw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Office 205 VAV-2-39 | CW Valve | 4 | 20620:16 | 1 | BAO | 2 | 242 | 8 | CW Valve
#vav-3-22/cw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Conference 301 VAV-3-22 | CW Valve | 4 | 20620:17 | 1 | BAO | 2 | 244 | 8 | CW Valve
#vav-3-23/cw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Hallway 3C1,5,6,7 VAV-3-23 | CW Valve | 4 | 20620:18 | 1 | BAO | 2 | 246 | 8 | CW Valve
#vav-3-24/cw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Video Conference 302 VAV-3-24 | CW Valve | 4 | 20620:19 | 1 | BAO | 2 | 248 | 8 | CW Valve
#vav-3-25/cw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Hallway 3C4, Conference Support 325 VAV-3-25 | CW Valve | 4 | 20620:20 | 1 | BAO | 2 | 250 | 8 | CW Valve
#vav-3-26/cw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Conference 324 VAV-3-26 | CW Valve | 4 | 20620:21 | 1 | BAO | 2 | 252 | 8 | CW Valve
#vav-3-26/hw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Conference 324 VAV-3-26 | HW Valve | 4 | 20620:21 | 2 | BFM | 2 | 253 | 12 | HW Valve
#vav-3-27/cw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Research Group 8 314 VAV-3-27 | CW Valve | 4 | 20620:22 | 1 | BAO | 2 | 254 | 8 | CW Valve
#vav-3-28/cw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Research Group 7 313 VAV-3-28 | CW Valve | 4 | 20620:23 | 1 | BAO | 2 | 256 | 8 | CW Valve
#vav-3-29/cw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Research Group 6 311 VAV-3-29 | CW Valve | 4 | 20620:24 | 1 | BAO | 2 | 258 | 8 | CW Valve
#vav-3-30/cw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Office 305 VAV-3-30 | CW Valve | 4 | 20620:25 | 1 | BAO | 2 | 260 | 8 | CW Valve
#vav-3-31/cw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Office 310 D,E Lactaion 312 VAV-3-31 | CW Valve | 4 | 20620:26 | 1 | BAO | 2 | 262 | 8 | CW Valve
#vav-3-32/cw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Office Support 315B & C VAV-3-32 | CW Valve | 4 | 20620:27 | 1 | BAO | 2 | 264 | 8 | CW Valve
#vav-3-33/cw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Office 321, 322, 323 VAV-3-33 | CW Valve | 4 | 20620:28 | 1 | BAO | 2 | 266 | 8 | CW Valve
#vav-3-34/cw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Scholarly Activity 320 VAV-3-34 | CW Valve | 4 | 20620:29 | 1 | BAO | 2 | 268 | 8 | CW Valve
#vav-3-34/hw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Scholarly Activity 320 VAV-3-34 | HW Valve | 4 | 20620:29 | 2 | BFM | 2 | 269 | 12 | HW Valve
#vav-3-35/cw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Engineering 315, Reception 315A VAV-3-35 | CW Valve | 4 | 20620:30 | 1 | BAO | 2 | 270 | 8 | CW Valve
#vav-3-37/cw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Short Bar | Office 315H VAV-3-37 | CW Valve | 4 | 20620:32 | 1 | BAO | 2 | 274 | 8 | CW Valve
#vav-b-34/cw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | Basement |  | Research Equip. 001 VAV-B-34 | CW Valve | 4 | 20604:1 | 1 | BAO | 2 | 276 | 8 | CW Valve
#vav-b-35/cw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | Basement |  | Vending 002 VAV-B-35 | CW Valve | 4 | 20604:2 | 1 | BAO | 2 | 278 | 8 | CW Valve
#vav-b-36/cw_valve | 10.20.0.47 | Science & Engineering 2: 0206 | Basement |  | Hallway 0C6 VAV-B-36 | CW Valve | 4 | 20604:3 | 1 | BAO | 2 | 280 | 8 | CW Valve