## ManuallyMappedTrends.csv
Path | Server | Location | Branch | SubBranch | ControlProgram | Point | Zone | BacnetAddress | BacnetDevId | BacnetObjectType | PointType | ComponentId | PathMappingsId | BacnetPoint
#001_thermafuser/m190 | 10.20.0.47 | Science & Engineering 2: 0206 | Basement |  | Room-001 | Supply Air | 4 | 20603:2 | -1 |  | 0 | 1 | 6 | Zone Temp
#ahu-3_0206/m045 | 10.20.0.47 | Science & Engineering 2: 0206 | Roof |  | AHU-3 | Cl Req | 3 | 20606:24 | -1 |  | 0 | 5 | 24 | Total Cool Request
#ahu-3_0206/sf_cfm_tnd | 10.20.0.47 | Science & Engineering 2: 0206 | Roof |  | AHU-3 | Supply Fan 3 Total CFM | 3 | 20606:24 | -1 |  | 0 | 30 | 23 | x
#ahu-4_0206/m045 | 10.20.0.47 | Science & Engineering 2: 0206 | Roof |  | AHU-4 | Cl Req | 4 | 20620:75 | -1 |  | 0 | 2 | 24 | Total Cool Request
#sav-2a2-c/m045 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Offices 291-293 SAV-2A2-C | Cl Req | 1_2 | 20618:2 | -1 |  | 0 | 30 | 73 | Total Cool Request
#sav-2a23-c/cl_stpt_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Long Bar | Computation 230A SAV-2A23-C | Clg Stpt | 1_2 | 20618:23 | -1 |  | 0 | 34 | 68 | Cool_stpt
#sav-3a2-c/m045 | 10.20.0.47 | Science & Engineering 2: 0206 | Third Floor | Long Bar | Offices 391-393 SAV-3A2-C | Cl Req | 1_2 | 20618:25 | -1 |  | 0 | 53 | 73 | Total Cool Request
#sav-b37-d_/m277 | 10.20.0.47 | Science & Engineering 2: 0206 | Basement | Long Bar | Mass Spec 024 SAV-B37-D | GEX Dmpr Pos | 1_2 | 20604:12 | -1 |  | 0 | 90 | 57 | GEX Dmpr Pos
#vav-2-26/dmpr_pos_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Conference 224 VAV-2-26 | Dmpr Pos | 4 | 20620:3 | -1 |  | 0 | 11 | 51
#vav-2-26/m211 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Conference 224 VAV-2-26 | Static SP1 | 4 | 20620:3 | -1 |  | 0 | 11 | 55
#vav-2-26/m311 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Conference 224 VAV-2-26 | Zone Temps | 4 | 20620:3 | -1 |  | 0 | 11 | 54 | Zone Temp
#vav-2-29/dmpr_pos_tn | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Scholarly Activity 220 VAV-2-29 | Dmpr Pos | 4 | 20620:6 | -1 |  | 0 | 14 | 51
#vav-2-29/m211 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Scholarly Activity 220 VAV-2-29 | Static SP1 | 4 | 20620:6 | -1 |  | 0 | 14 | 55
#vav-2-29/m311 | 10.20.0.47 | Science & Engineering 2: 0206 | Second Floor | Short bar | Scholarly Activity 220 VAV-2-29 | Zone Temps | 4 | 20620:6 | -1 |  | 0 | 14 | 54 | Zone Temp